BEFORE

THE PUBLIC UTILITIES COMMISSION OF OHIO

In the Matter of the Application of		)

The Dayton Power and Light Company	)	Case No. 09-754-EL-ESS

For Establishing New Reliability Targets.	)

REPLY COMMENTS

BY

THE OFFICE OF THE OHIO CONSUMERS’ COUNSEL

JANINE L. MIGDEN-OSTRANDER

CONSUMERS’ COUNSEL

Richard C. Reese, Counsel of Record

Jeffrey L. Small

Joseph P. Serio

Assistant Consumers’ Counsel

Office of the Ohio Consumers’ Counsel

10 West Broad Street, Suite 1800

Columbus, Ohio 43215-3485

Telephone:  (614) 466-8574

reese@occ.state.oh.us

small@occ.state.oh.us

serio@occ.state.oh.us

December 30, 2009

TABLE OF CONTENTS

Page

I.	INTRODUCTION	1

A.	Preliminaries.	1

B.	The PUCO Staff Unreasonably Failed To Ensure That The Methodology DP&L Applied In Proposing New Reliability Standards Complied 
With The ESSS Or The PUCO Staff’s Guidelines.	2

II.	PUCO STAFF’S ADJUSTMENTS TO DP&L’S PROPOSED RELIABILITY STANDARDS	4

A.	Historical Average Anomalies	4

B.	Staff’s Proposal (Historical Average Plus Ten Percent) Is Devoid Of 
Any Supporting Data And Analysis.	5

1.	The PUCO Staff’s Proposal Rewards Companies That Have Historically Consistent, But Poor, Performance In Service Reliability. .	5

2.	Staff’s Proposal Leads To Unreasonably Lax Minimum Reliability Performance Standards.	6

3.	Staff’s Proposal Can Result In Performance Standards That Are 
Even Less Stringent Than The Reliability Targets That Are 
Currently In Place.	8

C.	Additional Adjustments To The Historical Performance	9

III.	REQUEST FOR HEARING	10

IV.	CONCLUSION	10

BEFORE

THE PUBLIC UTILITIES COMMISSION OF OHIO

In the Matter of the Application of		)

The Dayton Power and Light Company	)	Case No. 09-754-EL-ESS

For Establishing New Reliability Targets.	)

REPLY COMMENTS

BY

THE OFFICE OF THE OHIO CONSUMERS’ COUNSEL

# I.	INTRODUCTION

## A.	Preliminaries.

On May 6, 2009, the Public Utilities Commission of Ohio (“PUCO” or “Commission”) issued an Entry on Rehearing modifying the previously adopted Electric Service and Safety Standards (“ESSS”) and ordered the electric distribution utilities (“EDUs”) to file proposed new performance standards for reliability of service to customers.  The Commission also ordered that the filing of the proposed new standards take place within sixty days following the effective date of the amended chapter.

The Dayton Power and Light Company (“DP&L” or “Company”) filed an Application proposing new performance reliability standards measures on August 28, 2009.  OCC submitted comments on DP&L’s Application on November 30, 2009, in accordance with the procedural Entry issued in this case.  The PUCO Staff’s Comments were filed on December 10, 2003.  OCC files these Reply Comments in response to the PUCO Staff’s Comments regarding DP&L’s Application.

## B.	The PUCO Staff Unreasonably Failed To Ensure That The Methodology DP&L Applied In Proposing New Reliability Standards Complied With The ESSS Or The PUCO Staff’s Guidelines.

The ESSS require that each electric distribution utility (“EDU”) fully support its proposed performance reliability standards.  Specifically, Ohio Adm. Code 4901:1-10-10(B)(3) requires that the applications proposing the performance standards contain:

(a)	A proposed methodology for establishing reliability standards.

(b)	A proposed company-specific reliability performance standard for each service reliability index based on the proposed methodology.

(c)	Supporting justification for the proposed methodology and each resulting performance standard.

Ohio Adm. Code 4901:1-10-10(B)(4) requires that certain supporting justification for the methodology must accompany each application and:

- Performance standards should reflect historical system performance, system design, technological advancements, service area geography, customer perception survey results as defined in paragraph (B)(4)(b) of this rule, and other relevant factors.

Finally, Ohio Adm. Code 1-10-10(B)(5) requires that a complete set of workpapers must be filed with the application.

The PUCO Staff also developed guidelines for the completion and submission of the applications and supporting workpapers.  These guidelines were posted on the Commission’s website below the ESSS rules in Ohio Adm. Code 4901:1-10.  DP&L has the burden of proving that its proposed performance standards are just and reasonable. Meeting this burden requires sufficient information to justify DP&L’s claims.

In the event that DP&L does not file additional, supporting documentation for its proposed outage standards within the next thirty days, DP&L’s Application should be denied.  Absent DP&L’s filing of the information at that time and in the manner required by Ohio Adm. Code 4901:1-10-10 and the PUCO Staff’s guidelines, the Commission should schedule a hearing to determine the appropriate reliability standards for DP&L.  Should DP&L file the required information within the next thirty days, intervenors should be permitted thirty days to comment on DP&L’s supporting documentation.

DP&L must support its proposed performance reliability standards.  The Commission’s rules require that certain information and supporting material must be provided in the application process in order for DP&L to demonstrate that it has employed the proper methodology in determining its proposed standards.  In its initial comments, OCC noted that DP&L’s Application failed to demonstrate, among other things, how geographic considerations and the results of customer perception surveys are integrated in the methodology for proposing standards.  DP&L’s Application also failed to address system design or technological advancements which might affect reliability.   OCC also noted DP&L’s failure to address these issues in its Application.  These issues were not addressed by the PUCO Staff in its comments.  The PUCO Staff’s comments, in fact, failed to address most of the deficiencies in DP&L’s Application and did not directly address any of the comments provided by OCC, the only intervening party to comment in this proceeding.

OCC initially agreed with the PUCO Staff for requiring the EDUs to fully support the methodology utilized to develop their proposed performance standards.  The technical conferences and comment period were a welcome addition to the prior process which limited participation to the Staff and the electric utility.  However, OCC has seen little or no information from DP&L which comports with the ESSS requirements in Ohio Adm. Code 4901:1-10-10(B).  In order for the Commission to truly make the transition from aspirational targets to firm reliability standards, DP&L must be much more forthcoming.

# II.	PUCO STAFF’S ADJUSTMENTS TO DP&L’S PROPOSED RELIABILITY STANDARDS

## A.	Historical Average Anomalies.

OCC agrees with the PUCO Staff that, in general, an initial baseline for historical reliability performance should be established utilizing at least five years of data.  OCC welcomes the Staff’s recognition that a statistics-based adjustment (whether it consists of one, two, or three standard deviations) to the historical performance baseline is flawed and unreasonable.

However, OCC is concerned with the Staff’s proposed solution of adding ten percent to the most recent five-year average to permit additional variability of the annual data.  The Staff’s proposal of “historical average plus ten percent” is flawed and unreasonable for the reasons discussed in the following sections.  OCC believes that the baseline of minimum performance standards should be the historical average of the most recent five years.  No adjustment to account for the so-called “variability of the annual data” is necessary or justified.

## B.	Staff’s Proposal (Historical Average Plus Ten Percent) Is Devoid Of Any Supporting Data And Analysis.

The PUCO Staff provides no explanation on the choice of the ten percent addition.  One may wonder about the justifications, if any, of a ten-percent addition to the historical average. Why not a five-percent, an eight-percent, or a fifteen-percent addition?  The Staff Comments do not provide any answer to this critical question.  The Staff has not performed any analysis to ascertain whether such an adjustment is consistent with customers’ expectation of electric service.  Ohio Adm. Code 4901:1-10-10(B)(3)(c) requires that the methodology for each proposed standard must be justified.  The Staff Comments do not contain such support and do not analyze how an ordinary customer will be affected by this ten-percent addition to the minimum reliability standard.

### 1.	The PUCO Staff’s Proposal Rewards Companies That Have Historically Consistent, But Poor, Performance In Service Reliability.

The PUCO Staff correctly noted in its comments that “a standard deviation provided little room for variance for those companies with historically consistent performance.  In contrast, those electric utilities whose historical performance varied more widely enjoyed an excessive amount of variance for their performance standards.”  The PUCO Staff, therefore, proposed a flat ten percent addition to the historical average performance in recognizing that certain EDUs provide uniform reliability performance by in lieu of a standard-deviation-based addition to the historical average performance.

The Staff’s Proposal, however, failed to establish a minimum reliability standard that can be implemented to properly monitor EDUs’ service performance and force EDUs such as DP&L to improve their distribution reliability.  Instead, the Staff’s Proposal of “historical average plus ten percent” rewards companies with consistently bad performance by permitting larger variations to their historical average performance indices.

### 2.	Staff’s Proposal Leads To Unreasonably Lax Minimum Reliability Performance Standards.

The ten-percent addition in the Staff’s Proposal is unreasonably generous to the electric distribution utilities (“EDUs”), and it will invariably lead to lax minimum reliability standards that may be unacceptable to many utility customers.  As stated before, the Staff provides no justifications for the selection of the ten percentage point addition to the average historical performance.

More importantly, the ten-percent addition potentially provides for even more lenient reliability standards than the statistics-based adjustments advocated by several EDUs.  Based on DP&L’s original filed historical performance data, the Staff’s Proposal will result in an addition of 0.10 to the historical average SAIFI while the addition based on the 1.5 standard deviation is only 0.084.  Similarly, the Staff’s Proposal will add 11.52, to the average historical CAIDI while the addition based on the 1.5 standard deviation is 10.28.  In both instances, the DP&L performance standards developed using the Staff’s Proposal are even more lax than the performance standards developed under very generous standard deviation methodology.

It is clear in the case of DP&L that the Staff’s proposal is a retreat even from the currently-in-place performance targets set as the historical average plus one standard deviation.  A comparison of the Staff-proposed addition and the additions associated with various standard deviations is shown in Table 1 below.

Table 1: Comparison of Staff-proposed and Various Standard- Deviation-Based Additions to Minimum Performance Standards

Additions to Annual SAIFI

________________________________________________________

Staff-proposed    DP&L-proposed

(2.5 S.D.)                (1 S.D.)        (1.5 S.D.)

________________________________________________________

0.10                          0.14                          0.056               0.084

Additions to Annual CAIDI

________________________________________________________

Staff-proposed     DP&L-proposed

(2.5 S.D.)                  (1 S.D.)           (1.5 S.D.)

________________________________________________________

11.52                      17.13                           6.85                10.28

### 3.	Staff’s Proposal Can Result In Performance Standards That Are Even Less Stringent Than The Reliability Targets That Are Currently In Place.

Given the serious deficiencies of the Staff’s Proposal, it is no surprise that the DP&L minimum service standards proposed in the Staff Comment are no more than a continuation of the status quo.  The Staff’s proposed minimum standards are not likely to encourage more reliable service to the customers of DP&L.  In all instances the Staff’s proposed performance standard is less stringent than the current reliability targets of historical performance plus one standard deviation.

There is no specific requirement in the Ohio Administrative Code or the Staff Guidelines that prohibits the Staff from proposing a more lax performance standard than that proposed by the utility.  But it seems counter-intuitive for the regulator to propose a standard for utility service to the public that is more lax than the utility’s own proposal. The PUCO Staff should have provided strong evidence that its standard is in the public interest and thereby beneficial to the customers.  It did not.  A comparison of the proposed minimum service standards proposed by the Staff and the Company are shown in Table 2.

Table 2: Comparison of Current Reliability Targets and Staff-proposed Minimum Performance Standards for DP&L

Annual SAIFI

________________________________________________________

Current Target                          Staff-proposed

2008                                2009       2010        2011

________________________________________________________

1.026                                1.08        1.08         1.08

Annual CAIDI

________________________________________________________

Current Target                             Staff-proposed

2008                                2009       2010       2011

________________________________________________________

120.67                            126.67    126.67     126.67

________________________________________________________

## C.	Additional Adjustments To The Historical Performance.

Neither DP&L nor the PUCO Staff has proposed additional adjustments to the historical SAIDI and CAIDI performance.  OCC’s initial comments did reflect, however, that DP&L failed to meet the Staff’s Guidelines.  For example, DP&L failed the requirement for separately quantifying the adjustments proposed for system design, technological advancements, service geography, and customer survey results.  Also, OCC’s initial comments noted that DP&L failed to provide the status of the implementation of any grid modernization program the Commission has approved under R.C. 4928.143(B)(2)(H).

# III.	REQUEST FOR HEARING

The ESSS contemplate a hearing when “it appears to the commission that the proposals in the application may be unjust or unreasonable,”  The requirement for a hearing when the utility’s proposed performance standards are unjust or unreasonable is a welcome and necessary ingredient to achieving success in the comment process proposed above.  The Commission, in determining whether to hold a hearing, should keep in mind that the burden is on the EDU to support its proposed performance standards.  (Emphasis added.)  DP&L has not met its burden in supporting its new performance reliability standards.  The PUCO Staff’s comments reflected little or no consideration of the factors that DP&L left unaddressed in its Application.  In this regard, the Staff previously stated that workpapers filed with an Application should include “Supporting rationale, methodology, analysis, calculations, underlying assumptions, and documentation for each adjustment used to arrive at the proposed reliability standards.”  Consideration of these factors is critical in ensuring that consumers pay for and are entitled to reliable, safe, and efficient service.

# IV.	CONCLUSION

In the interest of residential consumers in Ohio, OCC respectfully requests that the Commission reject DP&L’s Application because its proposed reliability standards are unjust and unreasonable.  The Commission should ensure that the nearly 456,000

residential customers of DP&L are receiving the reliable electric service they pay for and are entitled to, by holding the hearing that OCC requests for considering these issues and then adopting standards that serve the public interest.

Respectfully submitted,

JANINE L. MIGDEN-OSTRANDER

CONSUMERS’ COUNSEL

/s/ Richard C. Reese

Richard C. Reese, Counsel of Record

Jeffrey L. Small

Joseph P. Serio

Assistant Consumers’ Counsel

Office of the Ohio Consumers’ Counsel

10 West Broad Street, Suite 1800

Columbus, Ohio 43215-3485

(614) 466-8574 (Telephone)

(614) 466-9475 (Facsimile)

reese@occ.state.oh.us

small@occ.state.oh.us

serio@occ.state.oh.us

CERTIFICATE OF SERVICE

I hereby certify that a copy of the Reply Comments by the Office of the Ohio Consumers’ Counsel was served on the persons stated below via regular U.S. Mail Service, postage prepaid, this 30th day of December, 2009.

/s/ Richard C. Reese

Richard C. Reese

Assistant Consumers’ Counsel

SERVICE

| Anne Hammerstein Thomas Lindgren Assistant Attorneys General Public Utilities Commission of Ohio 180 E. Broad St., 6th Floor Columbus, OH 43215 | Irda Hoxha Hinders Randall V. Griffin Judi L. Sobecki Dayton Power & Light 1065 Woodman Drive Dayton, OH 45432 |
| --- | --- |

# Attachment 1

# Staff’s Guidelines for Reliability Standards Applications

Rules 4901:1-10-10(B)(2), (3), (4), and (5) of the Ohio Administrative Code (O.A.C.) require each electric utility in the state to file with the Commission an application to establish company-specific minimum reliably performance standards, and prescribe what should be included in the application’s supporting justification and work papers.  The following are Staff’s guidelines for electric utilities to use in developing their reliability standards applications, supporting justification, and supporting work papers.

- Service reliability performance standards for CAIDI and SAIFI should be calculated by averaging historical performance and using the average as a baseline for adjustments that would result in a proposed standard.

- Historical system performance should include at least five years of reliability performance data or an explanation of why that is not possible.  Such performance data must reflect the exclusion of major events and transmission outages as defined in Rules 4901:1-10-1(Q) and (AA), O.A.C., respectively.

- The application should separately quantify the adjustment that the electric utility proposes for each factor it believes should be considered in adjusting the average historical performance to develop the standard. All factors listed in Rule 4901:1-10-10(B)(4)(a), O.A.C., should be addressed, including those for which no adjustment is made.

- Work papers should include the following:

- Supporting rationale, methodology, analysis, calculations, underlying assumptions, and documentation for each adjustment used to arrive at the proposed reliability standards.

- The methodology used to exclude major events and transmission outages from historical performance data.

- A description of how major event day thresholds were calculated, including a description of and justification for any adjustments to any data used for such calculations.

- The results of the customer perception survey conducted under Rule 4901:1-10-10(B)(4)(b).

- The status in implementing and an updated schedule for completing any grid modernization program which the Commission has approved under Section 4928.143(B)(2)(h), Revised Code.

# Footnotes

In re the Commission’s Review of Chapters 4901:1-9, 4901:1-10, 4901:1-21, 4901:1-22, 4901:1-24, and 4901:1-15 of the Ohio Administrative Code, Case No. 06-653-EL-ORD, Entry on Rehearing (May 6, 2009) (“ESSS case”).  The Ohio Administrative Code sections referred to constitute Ohio’s ESSS.

The standards measure the frequency and duration of electric outages and consist of:

“CAIDI,” or the customer average interruption duration index, represents the average interruption duration or average time to restore service per interrupted customer.  CAIDI is expressed by the following formula:

CAIDI equals sum of customer interruption durations divided by total number of customer interruptions.

“SAIFI,” or the system average interruption frequency index, represents the average number of interruptions per customer.  SAIFI is expressed by the following formula:

SAIFI equals total number of customer interruptions divided by total number of customers served.

OCC was the sole party to file comments regarding DP&L’s Application.

Ohio Adm. Code 4901:1-10-10(B)(6)(e). “If it appears to the commission that the proposals in the application may be unjust or unreasonable, the commission shall set the matter for hearing and shall publish notice of the hearing in accordance with section 4909.10 of the Revised Code.  At such hearing, the burden of proof to show that the proposals in the application are just and reasonable shall be upon the electric utility.”

Ohio Adm. Code 4901:1-10-10(B)(3)-(5).

Id.

OCC Initial Comments at 4.

Ohio Adm. Code 4901:1-10-10(B)(4)(a).

Ohio Adm. Code 4901:1-10-10(B)(4).

Staff Comments at 2.

OCC’s Initial Comments at 11-14 for OCC’s arguments against the use of a statistics-based adjustment such as the addition of 1.5 standard deviations.

Staff’s Comments at 3.

In the case of DP&L, the Companies propose an addition of 2.5 standard deviations.  The DP&L-proposed addition is obviously very generous.  It will be very difficult if not impossible for the Staff to propose an addition that is higher than what the Company proposed.

See Staff Comment at 4.

Calculated from that data reported in DP&L Application at 8, Table IV.

Ibid.

Ibid.

The Staff-proposed performance standards can be found in Staff Comment at 4.

The “Current Target” is the historical average plus one standard deviation.  However, the historical average is calculated by using DP&L’s filed annual SAIFI and CAIDI which have been adjusted for major events and transmission outages).  So the “Current Target” may be different from the reported reliability targets that rely on previous definition of major events and reporting requirements.

OCC Initial Comments at 14-16.

Staff Guidelines and OCC’s Comments at 13.

Ohio Adm. Code 4901:1-10-10(B)(6)(e).

Ohio Adm. Code 4901:1-10-10(B)(6)(e).

See Attachment 1.  Attachment 1 is a WORD version of the Staff Guidelines posted on the PUCO’s website which outlines Staff’s expectations for Applications.  http://www.puco.ohio.gov/PUCO/Rules/Rule.cfm?id=9562

R. C. 4928.02.