BEFORE

THE PUBLIC UTILITIES COMMISSION OF OHIO

In The Matter of the Application of	)

###### Duke Energy Ohio, Inc. for an	)		Case No. 07-589-GA-AIR

Increase in Gas Rates	)

)

In the Matter of the Application of 	)

Duke Energy Ohio, Inc. for Approval 	)		Case No. 07-590-GA-ALT

of an Alternative Rate Plan for its 	)

Gas Distribution Service 	)

)

In the Matter of the Application of	)

Duke Energy Ohio, Inc. for Approval	)		Case No. 07-591-GA-AAM

to Change Accounting Methods	)

SECOND SUPPLEMENTAL TESTIMONY OF

GARY J. HEBBELER

ON BEHALF OF

DUKE ENERGY OHIO, INC.

Management policies, practices, and organization

Operating income

Rate Base

Allocations

Rate of return

Rates and tariffs

x		Other: request for re-approval of Rider AMRP and related matters

BEFORE

THE PUBLIC UTILITIES COMMISSION OF OHIO

In The Matter of the Application of	)

###### Duke Energy Ohio, Inc. for an	)		Case No. 07-589-GA-AIR

Increase in Gas Rates	)

)

In the Matter of the Application of 	)

Duke Energy Ohio, Inc. for Approval 	)		Case No. 07-590-GA-ALT

of an Alternative Rate Plan for its 	)

Gas Distribution Service 	)

)

In the Matter of the Application of	)

Duke Energy Ohio, Inc. for Approval	)		Case No. 07-591-GA-AAM

to Change Accounting Methods	)

SECOND SUPPLEMENTAL TESTIMONY OF

GARY J. HEBBELER

ON BEHALF OF

DUKE ENERGY OHIO, INC.

INDEX

Second supplemental testimony relating to Rider AMRP and riser construction schedule.

TABLE OF CONTENTS

PAGE

I.	Introduction and purpose	- 1 -

II.	AMRP PROGRAM	- 1 -

III.	RIDER FOR RISER REPLACEMENT	- 7 -

IV.	CONCLUSION	- 7 -

# Introduction and purpose

Q.	PLEASE STATE YOUR NAME.

- A.	My name is Gary J. Hebbeler.

Q.	DID YOU FILE DIRECT AND SUPPLEMENTAL TESTIMONY IN THIS PROCEEDING ON BEHALF OF DUKE ENERGY OHIO INC. (“DE-OHIO”)?

A.	Yes.

Q.	WHAT IS THE PURPOSE OF YOUR SECOND SUPPLEMENTAL TESTIMONY?

A.	I respond to the testimony of the Ohio Consumers’ Counsel (“OCC”) witness Mr. Anthony J. Yankel regarding the Accelerated Main Replacement Program (“AMRP”).

- II.	AMRP PROGRAM

Q.	MR. YANKEL TESTIFIED THAT THE AMRP PROGRAM AND RIDER AMRP SHOULD NOT BE CONTINUED.  HOW DO YOU RESPOND?

A.	I disagree with Mr. Yankel’s opinion.  His opinion is based on factual errors.  The AMRP provides important safety and reliability benefits.  Our previous program was a reactionary program using historical data to predict future activities.  This program worked until the facilities began to deteriorate faster than the predicted by the identified risk factors.  This deterioration led to several natural gas incidents.  The AMRP is a new program that was developed in 2000 to address this situation.  Rider AMRP is an appropriate tracking mechanism for recovering the costs.  Both should be continued.

Q.	WHAT FACTUAL ERRORS DID MR. YANKEL MAKE?

A.	Mr. Yankel is mistaken in his statement about DE-Ohio’s schedule for replacing cast iron and bare steel mains prior to implementation of the AMRP.  Mr. Yankel is also mistaken about the cost/benefit analysis supporting the AMRP.

Q.	WHAT DID MR. YANKEL STATE REGARDING DE-OHIO’S SCHEDULE FOR REPLACING CAST IRON AND BARE STEEL MAINS PRIOR TO IMPLEMENTATION OF THE AMRP?

A.	Mr. Yankel stated at page 35, line 19 through page 36, line 5:

One of the Company’s parameters for proposing the AMRP program in 2001 was that it would take the Company 27 years to replace all of their bare steel/cast iron Mains under the then existing programs.  It does not appear that the AMRP program has significantly accelerated this effort if after seven years, less than half the pipe has been replaced and the more difficult work is yet to come.  The Company has not substantiated that the program is an ‘Acceleration’ and that it therefore does not justify special Rider treatment.

Q.	WHAT DID THE COMPANY STATE IN CASE NO. 01-1228-GA-AIR REGARDING DE-OHIO’S SCHEDULE FOR REPLACING CAST IRON AND BARE STEEL MAINS PRIOR TO IMPLEMENTATION OF THE AMRP?

A.	The Company discussed this issue in the direct testimony of Leonard C. Randolph, Jr. and Sevket Torpis, and in the report by Stone & Webster Consultants entitled: “Independent Review of Cast Iron and Bare Steel Pipe Replacement Program for CG&E.”  These documents are included in the record of Case No. 01-1228-GA-AIR, in with the OCC was a party, and I incorporate these documents into my testimony by reference.

Mr. Randolph stated at page 21, lines15-18 of his direct testimony:

If CG&E were to follow the same program that has been in effect until this year, which has been generally accepted industry practice for main replacement, it would take over 70 years for the cast iron facilities to be replaced.

Mr. Torpis stated at page 10, lines 4-7 of his direct testimony:

CG&E has reported replacing approximately 129 miles of its cast iron mains since 1990, which represents a replacement rate of 1.3% per year.  At this rate, it could take CG&E approximately 79 years to replace all the remaining cast iron mains in its system.

The Stone & Webster report states at page 2:

In 1987, CG&E adopted a systematic CI mains replacement program.  In 1989, CG&E adopted a systematic BS mains replacement program.  These programs resulted in a modest increase in replacements, but under them it would take CG&E over 79 years to replace all of their CI and BS inventory.

Q.	WHAT DID YOU STATE IN YOUR DIRECT TESTIMONY REGARDING DE-OHIO’S SCHEDULE FOR REPLACING CAST IRON AND BARE STEEL MAINS PRIOR TO IMPLEMENTATION OF THE AMRP?

A.	At page 4, lines 3 through 6 of my direct testimony, I stated that the Company’s replacement rate was approximately 90 years, slightly longer than the schedule reported in 2001, due to a discrepancy in reporting the miles of cast iron and bare steel mains on our system at that time.

Q.	IN YOUR OPINION, IS MR. YANKEL’S ERROR REGARDING THE LENGTH OF DE-OHIO’S PRIOR CAST IRON AND BARE STEEL MAIN REPLACEMENT PROGRAM SIGNFICANT?

A.	Yes, I believe so.  He incorrectly concluded that the Company would have replaced all of its cast iron and bare steel mains in 27 years under the prior schedule, and that the AMRP did not justify rider treatment because the program was not truly accelerated.  If he would have known the correct length of the prior program, he would have seen that the AMRP will result in a significantly faster replacement of the cast iron and bare steel mains.  Knowing these facts, a reasonable person could only conclude that the AMRP is truly an accelerated program and, given the significant program cost, does justify a tracking mechanism for cost recovery.

Q.	IN DE-OHIO’S CURRENT APPLICATION, THE COMPANY PROPOSES TO COMPLETE THE AMRP IN 2016, WHICH IS 15 YEARS AFTER THE COMPANY STARTED THE PROGRAM IN 2001.  DID THE COMPANY ORIGINALLY PROPOSE A SHORTER TIME PERIOD FOR THE AMRP?

A.	Yes.  DE-Ohio originally proposed a ten-year program for the AMRP, in Case No. 01-1228-GA-AIR.

Q.	WHAT SCHEDULE WAS ADOPTED IN THAT CASE?

A.	Upon information and belief, certain parties insisted upon rate caps for Rider AMRP, that resulted in funding for a 15-year program.

Q.	DID EXTENDING THE AMRP FROM TEN TO 15 YEARS INCREASE PROGRAM COSTS?

A.	Yes, I believe so.  We have also been conducting an AMRP in Kentucky since 2001.  The Kentucky Public Service Commission approved a ten-year program, which we will complete in 2010.  Since 2005, prices for certain types of construction materials used for the AMRP have increased significantly, as I discuss at page 9, lines 4-11 of my direct testimony.  I believe the Kentucky program will be completed at a total cost closer to our original estimate than will our Ohio program.  Ohio consumers would have had the benefit of lower inflation if the Ohio AMRP would have been approved as a ten-year program.

Q.	YOU ALSO STATED THAT MR. YANKEL IS MISTAKEN ABOUT THE COST/BENEFIT ANALYSIS SUPPORTING THE AMRP.  PLEASE EXPLAIN.

A.	At page 35, lines 7-11, Mr. Yankel states:

The Company claims to have saved a total of $8.5 million of maintenance costs over the six years since the program has been in place, but it has cost the Company approximately $255 million in capital investment to achieve this savings.  The benefits achieved do not warrant the expenditures.

I disagree with Mr. Yankel’s analysis.  Mr. Yankel’s cost/benefit analysis compares the AMRP investment to date versus the maintenance savings obtained through the AMRP.  This is not a reasonable approach.  Across the country, there is deteriorated infrastructure.  The deteriorated condition of the infrastructure has caused serious accidents and will continue to do so unless prudent decisions are made and effective cost management is implemented.  A traditional cost/benefit analysis will not mitigate intangible risks and values such as the most precious value of human life.  Mr. Yankel contradicts himself because under his approach we could never justify replacing any of the facilities.   A longer, more segmented approach would dictate a more costly replacement program.  The AMRP investment should be compared to the avoided cost that occurs by planning the work with governmental agencies, and the Company’s cost savings produced by the economies of scale and efficiencies gained by levelizing the resources.

The CIMOS and BSMOS programs were reactionary programs which would base the replacement segments on risk.  These replacement segments would be identified once a year after the historical data was analyzed from the previous year.  When the facilities began to deteriorate more rapidly, these programs were not effective in mitigating the risk of natural gas incidents.  Municipalities also complained that these reactive programs led to the replacement of gas facilities in areas that had recently been repaved by the municipalities.  Mr. Yankel’s approach does not consider how our proactive program avoids multiple costly re-surfacing and allows municipalities to coordinate their infrastructure upgrades with our main replacement work.  Mr. Yankel has not attempted to quantify any amount for the safety and reliability benefits in his cost/benefit analysis.  This should be the foremost attribute considered as part of a regulating body responsible for customers.

Q.	PLEASE STATE YOUR OPINION REGARDING CONTINUATION OF THE AMRP AND RIDER AMRP.

A.	As I explained in my direct testimony, the AMRP provides significant safety and reliability benefits.  DE-Ohio has implemented the AMRP as efficiently as possible, through competitive bidding.  Upon information and belief, several other utilities have adopted or are in the process of adopting similar programs.  The costs of the program are significant and, in my opinion, are appropriate for recovery through a tracking mechanism.  I therefore recommend that the Commission approve continuation of the AMRP and Rider AMRP.

- III.	RIDER FOR RISER REPLACEMENT

Q.	MR. YANKEL ALSO ARGUES THAT A TRACKER MECHANISM IS NOT APPROPRIATE FOR COSTS OF THE RISER REPLACEMENT PROGRAM BECAUSE THE COSTS OF THE PROGRAM ARE RELATIVELY LOW.  HOW DO YOU RESPOND?

A.	I disagree.  We manage the AMRP and the riser replacement program together because this allows us to optimize our internal and external resources, and to minimize inconvenience to customers and municipalities.  This is why we proposed to do both programs over the same construction schedule and to recover costs through the same rider.  The costs of the riser program are fixed, known and measurable; the costs are significant; and will be incurred over a relatively short time period; therefore, tracker recovery is appropriate.

- IV.	CONCLUSION

Q.	DOES THIS CONCLUDE YOUR SECOND SUPPLEMENTAL TESTIMONY?

A.	Yes.

CERTIFICATE OF SERVICE

I certify that a copy of the foregoing Second Supplemental Testimony of Gary J. Hebbeler was served on the following parties of record by electronic filing and e-mail 22nd day of February 2008.

_____/s/ John J. Finnigan, Jr. ___________

John J. Finnigan, Jr.

| Larry S. Sauer, Esq. Ohio Consumers' Counsel 10 West Broad Street, Suite 1800 Columbus, OH 43215-3420 | John W. Bentine, Esq. Counsel for Interstate Gas Supply, Inc. Chester, Wilcox & Saxbe, LLP 65 East State Street, Suite 1000 Columbus, Ohio 43215-4213 |
| --- | --- |
| David C. Rinebolt, Esq. Counsel for Ohio Partners for Affordable Energy 231 West Lima Street Findlay, OH 45840-3033 | Colleen L. Mooney, Esq. Counsel for Ohio Partners for Affordable Energy 1431 Mulford Road Columbus, OH 43212-3404 |
| Michael L. Kurtz, Esq. Counsel for The Kroger Co. Boehm, Kurtz & Lowry 36 East Seventh Street, Suite 1510 Cincinnati, Ohio 45202 | William L. Wright, Esq. Assistant Attorney General Public Utilities Commission of Ohio 180 East Broad Street, 9th Floor Columbus, Ohio 43215 |
| Thomas Lindgren, Esq. Assistant Attorney General Public Utilities Commission of Ohio 180 East Broad Street, 9th Floor Columbus, Ohio 43215 | Thomas J. O’Brien Counsel for City of Cincinnati Bricker & Eckler LLP 100 South Third Street Columbus, Ohio 43215-4236 |
| David F. Boehm, Esq. Counsel for Ohio Energy Group Boehm, Kurtz & Lowry 36 East Seventh Street, Suite 1510 Cincinnati, Ohio 45202 | John M. Dosker, Esq. Stand Energy Corporation 1077 Celestial Street, Suite 110 Cincinnati, Ohio 45202-1629 |
| M. Howard Petricoff, Esq. Steven M. Howard, Esq. Counsel for Itegrys Energy Services, Inc. and Direct Energy Services LLC Vorys, Sater, Seymour and Pease LLP 52 East Gay Street P.O. Box 1008 Columbus, Ohio 43216-1008 | Bobby Singh, Esq. Senior Attorney Integrys Energy Services, Inc. 300 Wert Wilson Bridge Road, Suite 350 Worthington, Ohio 43085 |
| Mary W. Christensen, Esq. Counsel for People Working Cooperatively, Inc. Christensen Christensen Donchatz Kettlewell & Owens, LLC 100 East Campus View Blvd., Suite 360 Columbus, Ohio 43235 |  |