BEFORE

THE PUBLIC UTILITIES COMMISSION OF OHIO

| In the Matter of the Commission’s Review of Chapter 4901:1-22, Ohio Administrative Code, Regarding Interconnection Services. | ) ) ) ) | Case No. 12-2051-EL-ORD |
| --- | --- | --- |

SUPPLEMENTAL COMMENTS

BY THE

OFFICE OF THE OHIO CONSUMERS’ COUNSEL

By Entry dated January 16, 2013, the Public Utilities Commission of Ohio (“PUCO”) requested supplemental comments concerning the PUCO Staff’s proposal for further changes to rules that address how Ohioans can connect their distributed generation (e.g., windmills) to the power grid..  The Office of the Ohio Consumers’ Counsel (“OCC”) welcomes the opportunity to offer these comments on behalf of all of the 4.2 million residential customers of Ohio electric distribution utilities (“EDUs”). OCC commends the PUCO Staff for carefully reviewing the comments and reply comments of interested parties in this case and, based on those comments, proposing additional modifications to the interconnection rules to make the process more efficient, transparent, and accountable for the public.

OCC is generally supportive of the proposed rules, which will tend to impact larger non-residential projects requiring Level 2 review and above.   The proposed modifications are:

1.	Scaling of capacity as a new method for Level 2 Expedited Review

2.	Incorporating Language from Federal Energy Regulatory Commission’s Small Generator Interconnection Procedures (“SGIP”)

3.	Three Additional Screens for Projects that Fail Level 2 Expedited Review

4.	Pre-Application Report to Promote Information Accessibility

5.	Modifying a Technical Screen to improve its ability to identify generators in need of full study

6.	Modifying a Technical Screen to Identify high-risk interconnection requests

The Commission is also requesting supplemental comments related to backup electricity supply for partial-service non-residential customers.  (Partial-service consists of Backup Reservation Service and Scheduled Maintenance Service where the utility reserves capacity for a customer to replace capacity normally provided by the customer's on-site generating facilities.)  While OCC is supportive of the general intent of the PUCO Staff recommendations outlined above, and the inquiries into standby service, OCC reserves comment at this time.  OCC looks forward to reviewing the supplemental comments of other parties.   OCC reserves its right to file supplemental reply comments on February 7, 2013.

Respectfully submitted,

BRUCE J. WESTON

OHIO CONSUMERS’ COUNSEL

/s/ Melissa R. Yost___________________

Melissa R. Yost, Counsel of Record

Deputy Consumers’ Counsel

Office of the Ohio Consumers’ Counsel

10 West Broad Street, Suite 1800

Columbus, Ohio 43215-3485

(614) 466-1291 – Telephone (Yost)

yost@occ.state.oh.us

CERTIFICATE OF SERVICE

I hereby certify that I served a true copy of the foregoing Supplemental Comments upon the following via electric transmission, this 31st day of January 2013.

/s/ Melissa R. Yost__________________

Melissa R. Yost

Deputy Consumers’ Counsel

SERVICE LIST

| J. Thomas Siwo Matthew W.Warnock Bricker & Eckler LLP 100 South Third Street Columbus, OH 43215-4291 tsiwo@bricker.com mwarnock@bricker.com | Amy B. Spiller Elizabeth H. Watts Duke Energy Business Services LLC 139 East Fourth Street, 1303-Main PO Box 960 Cincinnati, Ohio 45201-0960 Amy.spiller@duke-energy.com Elizabeth.watts@duke-energy.com |
| --- | --- |
| Scotte Elliott, MSEE, CEM Metro CD Engineering, LLC 7003 Post Road, Suite 204 Dublin, Ohio 43016 selliott@metrocdengineering.com | James W. Burk (0043808) Counsel of Record FirstEnergy Corporation 76 South Main Street Akron, Ohio 44308 burkj@firstenergycorp.com |
| Thadeus B. Culley Keyes, Fox & Wiedman LLP Interstate Renewable Energy Council, Inc. 436 13th Street, Suite 1305 Oakland, CA 94612 510-314-8205 tculley@kfwlaw.com | Steven T. Nourse American Electric Power Service Corp. 1 Riverside Plaza 29th Floor Columbus, Ohio 43215 stnourse@aep.com |
| Janice Karlak 4547 East Livingston Avenue Columbus, Ohio 43227 jankarlak@yahoo.com | Samuel C. Randazzo Scott Elisar McNees Wallace & Nurick LLC 21 East State Street, Suite 1700 Columbus, Ohio 43215-4228 sam@mwncmh.com selisar@mwncmh.com |

| Judi L. Sobecki Randall V. Griffin The Dayton Power and Light Company 1065 Woodman Drive Dayton, Ohio 45432 Judi.sobecki@DPLINC.com | Vincent Parisi Matthew White Interstate Gas Supply, Inc. 6100 Emerald Parkway Dublin, Ohio 43016 vparisi@igsenergy.com mswhite@igsenergy.com |
| --- | --- |
| David R. Blair, P.E. GEM/Energy 5505 Valley Belt Road, Suite F Independence, Ohio 44131 | Richard Munson Recycled Energy Development 640 Quail Ridge Drive Westmont, Illinois 60559 |
| Lance S. Traves President Labyrinth Management Group, Inc. 239 South Court Street Medina, Ohio 44256 |  |

Ohio Adm. Code Chapter 4901:1-22 (Interconnection Services).