SECTION VII

## PART 19 - METERING SERVICES AND OBLIGATIONS

  - Quantity of Gas Delivered

A meter installed by the Company or measuring station installed pursuant to Section VII, Sheet 41 will measure gas. Subject to certain exceptions, enumerated below, consumption shall be determined on the basis of the meter registration and bills shall reflect the consumption so registered.  Any mistake in reading the registration, however, shall not affect the liability for gas consumed as determined by a corrected reading of the registration.  Customers may request an actual meter reading prior to the transfer of the service to the new Retail Natural Gas Supplier or Governmental Aggregator in accordance with Section VII, Part 7 of this tariff.

  - Billing Periods

Bills ordinarily are rendered regularly at monthly intervals, but may be rendered more or less frequently at Company's option. Meters are ordinarily read at bimonthly intervals but may be read more or less frequently at Company's option. Monthly volumes billed to participating customers shall be considered actual volumes delivered, whether the meter reading is actual or calculated.

19.3	Determination of Meter Accuracy

A meter registering between three percent (3%) fast and three percent (3%) slow shall be deemed for all purposes to be registering correctly.  The Company, at its expense, shall replace a meter registering incorrectly.