Case No.:  09-835-EL-REN

A. Name of Renewable Generating Facility:   Elk Wind Farm

The name specified will appear on the facility’s certificate of eligibility issued by the Public Utilities Commission of Ohio.

Facility Location:  Facility under development west of town of Greeley in Elk Township, Delaware County, Iowa.  The following is the address of the corporate headquarters.

Street Address:  4800 Mills Civic Parkway, Ste 207

City:  West Des Moines    State:  Iowa    Zip Code:  50265

Facility Latitude and Longitude

Latitude:  N42° 36.24’	Longitude:  W91° 21.87’

If applicable, U.S. Department of Energy, Energy Information Administration Form EIA-860 Plant Name and Plant Code.

EIA-860 Plant Name:

EIA Plant Code:

B. Name of the Facility Owner:  Elk Wind Energy LLC

Please note that the facility owner name listed will be the name that appears on the certificate.

If the facility has multiple owners, please provide the following information for each on additional sheets.

Applicant’s Legal Name:  Stephen F. Dryden

Title:  Authorized Representative

Organization:  Elk Wind Energy LLC

Owner’s Address:

Street Address:  4800 Mills Civic Parkway, Ste 207

City:  West Des Moines    State:  Iowa    Zip Code:  50265

Country:  USA

Phone:  515-223-0511      Fax:  515-223-0589      Email Address:  sdryden@rpmaccess.com

Web Site Address (if applicable):

C. List name, address, telephone number and web site address under which Applicant will do business in Ohio.

Applicant’s Legal Name:  Elk Wind Energy LLC

Title:

Organization:

Please note that the company name will appear on the certificate

Owner’s Address:

The address provided in this section is where the certificate will be sent

Street Address:  4800 Mills Civic Parkway, Ste 207

City:  West Des Moines    State:  Iowa    Zip Code:  50265

Country:  USA

Phone:  515-223-0511      Fax:  515-223-0589      Email Address:  sdryden@rpmaccess.com

Web Site Address (if applicable):

D. Name of Generation Facility Operating Company:  Elk Wind Energy LLC

Legal Name of Contact Person:  Stephen Dryden

Title:  Authorized Representative

Organization:  Elk Wind Energy LLC

Operator’s Address:  4800 Mills Civic Parkway, Ste 207

City:  West Des Moines    State:  Iowa    Zip Code:  50265

Country:  USA

Phone:  515-223-0511      Fax:  515-223-0589      Email Address:  sdryden@rpmaccess.com

Web Site Address (if applicable):

E. Contact person for regulatory or emergency matters:

Legal Name of Contact Person:  Stephen Dryden

Title:  Member

Organization:  Renewable Power Markets Access, Inc

Operator’s Address:  4800 Mills Civic Parkway, Ste 207

City:  West Des Moines    State:  Iowa    Zip Code:  50265

Country:  USA

Phone:  515-223-0511      Fax:  515-223-0589      Email Address:  sdryden@rpmaccess.com

Web Site Address (if applicable):

F. Certification Criteria 1: Deliverability of the Generation into Ohio

Ohio Revised Code (ORC) Sec. 4928.64(B)(3)

The facility must have an interconnection with an electric utility.

Check which of the following applies to your facility’s location:

__	The facility is located in Ohio.

__	The facility is located in a state geographically contiguous to Ohio (Indiana, Kentucky, Michigan, Pennsylvania, or West Virginia).

_X_	The facility is located in the following state:  Iowa – See Exhibit 1 for deliverability.

If the renewable energy resource generation facility is not located in Ohio, Indiana, Kentucky, Michigan, Pennsylvania, or West Virginia,  you are required to submit a study by one of the regional transmission organizations (RTO) operating in Ohio, either PJM or Midwest ISO, demonstrating that the power from your facility is physically deliverable into the state of Ohio.  The study may be conducted by someone other than the RTO provided that the RTO approves the study.  This study must be appended to your application as an exhibit.

G. Certification Criteria 2: Qualified Resource or Technology

For the resource or technology you identify below, please provide a written description of your system.  Please indicate if the facility is a customer-owned renewable distributed generation system.  Please also include a detailed description of how the output of the facility is going to be measured and verified.  If the facility is behind-the-meter and grid connected, please describe the configuration of the meter and the meter type.  Please also attach digital photographs that depict an accurate characterization of your installed system.  Please indicate the date(s) the photographs were taken.  If you need additional sheets for the description of your system, please include those as an exhibit and clearly identify the subject matter in the heading.

Elk Wind Farm is an approximately 41 MW wind energy facility for the conversion of the kinetic energy in wind into electricity.  Depending upon final design and assuming utilization of turbines with a capacity in the 1.5 MW to 2.5 MW range, the wind farm will utilize 16 to 27 turbines, which will be placed on 80 meter towers distributed over approximately 4,000 acres in Elk Township, Delaware County, Iowa.

The wind farm will interconnect with 69 kV transmission facilities that are owned by ITC, Inc. and operated by the Midwest Independent Transmission System Operator, Inc. (“MISO”).

The facility’s energy delivery to the transmission system will be metered utilizing utility grade metering configured in compliance with the rules and standards of ITC, Inc. and MISO.  Final details of the metering configuration and meter types will be provided upon achievement of commercial operation.

The Applicant is applying for certification in Ohio based on the following qualified resource or technology (Sec. 4928.01 O.R.C.):

G.1   __ SOLAR PHOTOVOLTAIC

Total PV Capacity (DC):

Total PV Capacity (AC):

Expected Capacity Factor:

Anticipated Annual output in kWh/yr:

Location of the PV array:    __ Roof    __ Ground    __ Other

# of Modules and/or size of the array:

G.1a   PV Modules

For each PV module, provide the following information:

Manufacturer:

Model and Rating:

G.2   __ SOLAR THERMAL

G.3   _X_ WIND

Total Nameplate Capacity (kilowatts AC):  41,000      kW DC

Expected Capacity Factor:  36%

Anticipated Annual Output in kWh/yr or MWh/yr:  129,000 MWh/yr

# of Generators:  16 to 27 – actual number to be determined at time of final design

G.3a   Wind Generators

If your system includes multiple generators, please provide the following information for each unique generator you have in your system

The following assumes the use of Vestas 1.65 MW turbines.  Final turbine selection will be made at the time of final planning and design of the facility.

Each of the installed wind generators is the same make and model and is installed on the same height towers.

Manufacturer:  Vestas

Model Name and Number:  V87

Generator Nameplate Capacity (kilowatts AC):  1650

Wind Hub Height (ft):  262

Wind Rotor Diameter (ft):  285

G.4  __ HYDROELECTRIC ("hydroelectric facility" means a hydroelectric generating facility that is located at a dam on a river, or on any water discharged to a river, that is within or bordering this state or within or bordering an adjoining state (Sec. 4928.01(35) O.R.C.)

Check each of the following to verify that your facility meets each of the statutory standards (Sec. 4928.01(35) O.R.C.):

__	(a) The facility provides for river flows that are not detrimental for fish, wildlife, and water quality, including seasonal flow fluctuations as defined by the applicable licensing agency for the facility.

__	(b) The facility demonstrates that it complies with the water quality standards of this state, which compliance may consist of certification under Section 401 of the "Clean Water Act of 1977," 91 Stat. 1598, 1599, 33 U.S.C. 1341, and demonstrates that it has not contributed to a finding by this state that the river has impaired water quality under Section 303(d) of the "Clean Water Act of 1977," 114 Stat. 870, 33 U.S.C. 1313.

__	(c) The facility complies with mandatory prescriptions regarding fish passage as required by the Federal Energy Regulatory Commission license issued for the project, regarding fish protection for riverine, anadromous, and catadromus fish.

__	(d) The facility complies with the recommendations of the Ohio Environmental Protection Agency and with the terms of its Federal Energy Regulatory Commission license regarding watershed protection, mitigation, or enhancement, to the extent of each agency's respective jurisdiction over the facility.

__	(e) The facility complies with provisions of the "Endangered Species Act of 1973," 87 Stat. 884, 16 U.S.C. 1531 to 1544, as amended.

__	(f) The facility does not harm cultural resources of the area. This can be shown through compliance with the terms of its Federal Energy Regulatory Commission license or, if the facility is not regulated by that commission, through development of a plan approved by the Ohio Historic Preservation Office, to the extent it has jurisdiction over the facility.

__	(g) The facility complies with the terms of its Federal Energy Regulatory Commission license or exemption that are related to recreational access, accommodation, and facilities or, if the facility is not regulated by that commission, the facility complies with similar requirements as are recommended by resource agencies, to the extent they have jurisdiction over the facility; and the facility provides access to water to the public without fee or charge.

__	(h) The facility is not recommended for removal by any federal agency or agency of any state, to the extent the particular agency has jurisdiction over the facility.

G.5 __ GEOTHERMAL

G.6 __ SOLID WASTE (as defined in ORC section 3734.01), electricity generation using fuel derived from solid wastes through fractionation, biological decomposition, or other process that does not principally involve combustion. (Sec. 4928.01(A)(35) O.R.C.)

Identify all fuel types used by the facility and respective proportions (show by the percent of heat input):

G.7 __ BIOMASS

Identify the fuel type used by the facility:

If co-firing an electric generating facility with a biomass energy resource, the proportion of fuel input attributable to the biomass energy resource shall dictate the proportion of electricity output from the facility that can be considered biomass energy.

G.7a List all fuel types used by the facility and respective proportions (show by the percent of heat input):

G.7b Please attach the formula for computing the proportions of output per fuel type by MWh or kWh generated.

G.8 __ FUEL CELL (any fuel cell used in the generation of electricity, including, but not limited to, a proton exchange membrane fuel cell, phosphoric acid fuel cell, molten carbonate fuel cell, or solid oxide fuel cell; Sec. 4928.01(35)(A) O.R.C.).

Identify all fuel types used by the facility and respective proportions:

G.9 __ STORAGE FACILITY

If using compressed air or pumped hydropower, the renewable energy resource used to impel the resource into the storage reservoir is (include resource type and facility name):

H. Certification Criteria 3: Placed in Service Date (Sec. 4928.64. (A)(1) O.R.C.)

The Renewable Energy Facility:

__  has a placed-in-service date before January 1, 1998;  (month/day/year):

__  has a placed-in-service date on or after January 1, 1998; (month/day/year):

__  has been modified or retrofitted on or after January 1, 1998; (month/day/year):

Please provide a detailed description of the modifications or retrofits made to the facility that rendered it eligible for consideration as a qualified renewable energy resource.  In your description, please include the date of initial operation and the date of modification or retrofit to use a qualified renewable resource.  Please include this description as an exhibit attached to your application filing and identify the subject matter in the heading of the exhibit.

_X_  Not yet online; projected in-service date (month/day/year):  12/31/2010

H.1 Is the renewable energy facility owner a mercantile customer?  No

ORC Sec. 4928.01 (19) "Mercantile customer" means a commercial or industrial customer if the electricity consumed is for nonresidential use and the customer consumes more than seven hundred thousand kilowatt hours per year or is part of a national account involving multiple facilities in one or more states.

_x_  No

__  Yes

Has the mercantile customer facility owner committed to integrate the resource under the provisions of Rule 4901:1-39-08 O.A.C?

__  No

__  Yes

If yes, please attach a copy of your approved application as an exhibit to this filing.

I. Facility Information

The nameplate capacity of the entire facility in megawatts (MW):  41

If applicable, what is the expected heat rate of resource used per kWh of net generation:

BTU/kWh

Number of Generating Units:  16 to 27 – actual number to be determined in final design.7

I.1 For each generating unit, provide the following information:

| In-Service date of each unit | The nameplate capacity of each unit in megawatts (MW) | Projected Annual Generation | Expected Annual Capacity Factor % |
| --- | --- | --- | --- |
| To be provided upon completion of facility construction | To be determined based upon final design | To be determined based upon final design | Currently projected at approximately 36% |

J. Regional Transmission Organization Information

J.1 In which Regional Transmission Organization area is your facility located:

__  Within Geographic Area of PJM Interconnection, L.L.C.

_X_  Within Geographic Area of Midwest ISO

__  Other (specify):

J.2 Are you a member of a regional transmission organization?

_X_  Yes; specify which one:  MISO

__  No; explain why you are not a member of a regional transmission organization:

J.3 Balancing Authority operator or control area operator for the facility:

__  PJM

_X_  Midwest ISO

__  Other (specify):

K. Attribute Tracking System Information

Are you currently registered with an attribute tracking system:  __  Yes	_X_  No

In which attribute tracking system are you currently registered or in which do you intend to register (the tracking system you identify will be the system the PUCO contacts with your eligibility certification):

__  GATS

_X_  M-RETS

__  Other (specify):

K.1 Enter the generation ID number you have been assigned by the tracking system:  This will be provided when the facility is constructed and registered with M-RETS.

If the generation ID number has not yet been assigned, you will need to provide this number to the PUCO within 15 days of your facility receiving this number from the tracking system).

L. Other State Certification

Is the facility certified by another state as an eligible generating resource to meet the renewable portfolio standards of that state?

__  Yes

_X_  No

L.1 If yes, for each state, provide the following information:

| Name of State | State Certification Agency | State Certification Number | Date Issued |
| --- | --- | --- | --- |

M. Type of Generating Facility

Please check all of the following that apply to your facility:

__	Utility Generating Facility:

__  Investor Owned Utility

__  Rural Electric Cooperative

__  Municipal System

__	Electric Services Company (competitive retail electric service provider)

__	Distributed Generation with a net metering and interconnection agreement with a utility.

Identify the utility:

__	Distributed Generation with both on-site use and wholesale sales.

Identify the utility with which the facility is interconnected:

_X_	Distributed Generation, interconnected without net metering.

Identify the utility with which the facility is interconnected:  ITC, Inc. transmission company

Note:  if the facility does not yet have an interconnection agreement with a utility or transmission system operator, please note here the status of the application for such an agreement:

The project’s interconnection request is currently in MISO’s definitive planning phase.  It is anticipated that an interconnection agreement will be completed in the first quarter of 2010.

N. Meter Specifications

All facilities are required to measure output with a utility grade meter.  Please provide this information for each meter used in your system.

The following information will be provided when the facility achieves commercial operation.

Manufacturer:

Serial Number:

Type:

Date of Last Certification:

Attach a photograph of the meter with date image taken.  The meter reading must be clearly visible in the photograph.

The required photo and meter reading will be provided at the time the facility achieves commercial operation.

Total kWh shown on meter at time of photograph:

The Public Utilities Commission of Ohio reserves the right to verify the accuracy of the data reported to the tracking system and to the PUCO.