Without incurring any liability therefore, the Company may also suspend service for such periods as may be reasonably necessary in order to make repairs to or changes in its plant, transmission or distribution systems or other property.

6.	Utilization Factor.  The Company's supply of natural gas is received from interstate suppliers. In addition, the Company may operate Liquefied Petroleum Gas-Air plants.  Heating value and specific gravity of gases received from the supplier varies between delivery points and from day to day.  These variations are beyond the control of the Company which can only dispatch the gases received.  Said gases may be standardized by commingling with other gases to the extent necessary, to a utilization factor of thirteen hundred (1300).  This factor shall be maintained as nearly uniform as practicable, but shall not vary more than six (6) percent above or six (6) percent below such standard.

The utilization factor is the result obtained by dividing the heating value of a gas by the square root of its specific gravity. As sources and characteristics of natural gas supplies available to the Company change from time to time, the Company may find it necessary to modify such utilization factor of thirteen hundred (1300) and to amend this regulation accordingly.

7.	Service Not to be Disturbed. No customer shall attach or use any appliance which may result in the injection of air, water, or other foreign matter into the Company's lines and, without prior approval from the Company, no customer shall attach or use any appliance which will increase or decrease the pressure in the Company's lines intermittently to such extent as to interfere with continuous service to other customers.

8.	No Customer Shall Sell to Another. The customer shall not supply or sell gas for use in any location other than that specified in the application for service.

9.	Access to Premises. The Company and its authorized employees shall have free access at all reasonable times to all of the premises in which gas supplied by the Company is used or is to be used. Upon request, an employee shall identify him or herself, provide company photo identification, and state the reason for the visit.

10.	Customer's Responsibility. Customer assumes all responsibility for property owned by the customer on customer's side of the point of delivery, generally the outlet side of the curb cock, or, if there is no curb cock, the property or lot line, for the service supplied or taken, as well as for the installation and appliances used in connection therewith, and will save Company harmless from and against all claims for injury or damage to persons or property occasioned by or in any way resulting from such service or the use thereof on customer's side of the point of delivery.

11.	Right-of-Way. Customer, without reimbursement, will make or procure conveyance to Company of right-of-way satisfactory to it across the property owned or controlled by customer for Company's distribution mains, extensions thereof, or appurtenances necessary or incidental to the supplying of service to customer.

12.	Charges and Payment for Temporary Service. In addition to regular payments for gas used, the customer shall pay the cost for all material, labor, and all other necessary expense incurred by the Company in supplying gas service to the customer at his request for any temporary purpose or use.