31.	Standards for Customer's Property.  The customer's service line, house lines, fittings, valve connections and appliance venting shall be installed with materials and workmanship which meet the reasonable requirements of the Company. Prior to initial establishment of service the gas piping downstream of the meter must be inspected, either by a local building code authority or other appropriate governmental entity, by a person specifically authorized by such authority or entity to conduct such inspections, or by the Company if no such authority, entity or person conducts such inspections. In addition, prior to the establishment or reestablishment of gas service, the gas piping downstream of the meter must be tested by the Company, or its representative, in accordance with Chapter 4901:1-13-05(A)(3) of the Ohio Administrative Code to determine that no leaks exist.

The first inspection or test at any premises, including both service lines and house lines, shall be without charge.  In the case of leak, error, patent defect or other unsatisfactory condition resulting in the disapproval of the line by the Company, the necessary correction shall be made at the customer's expense and then the lines will be inspected and tested again in accordance with Chapter 4901:1-13-05(A)(3) of the Ohio Administrative Code.  Each additional inspection or test, when required after correction, shall be subject to a charge covering the cost thereof.

32.	Discontinuance of Supply on Notice of Defect in Customer's Property.  If the customer's service line, other gas lines, fittings, valves, connections, gas appliances or equipment on a customer's premises are defective or in such condition as to constitute a hazard, the Company, upon notice to it of such defect or condition, may discontinue the supply of gas to such appliances or equipment or to such service line or such other gas lines until such defect or condition has been rectified by the customer in compliance with the reasonable requirements of the Company.

33.	No Responsibility for Material or Workmanship.  The Company is not responsible for maintenance of, or any imperfect material or defective or faulty workmanship in, the customer's service line, house lines, fittings, valve connections, equipment or appliances and is not responsible for any loss or damage arising from inadequate or improper maintenance or from imperfect material or defective or faulty workmanship.

34.	Inspection of Altered Piping.  It shall be the duty of the customer to notify the Company promptly of any additions, changes, alterations, remodeling or reconstruction affecting gas piping on the customer's premises.

35.	Extension of Distribution Mains.  For the purposes of this provision applicants for domestic service shall be divided into classes, as follows:

An applicant who will utilize gas as the major source of energy for air conditioning and space heating and for base load such as water heating, cooking, refrigeration, incineration or drying (hereinafter referred to as a "Class 1 Applicant"); and