## FE-T1 Inputs
Energy In | 2023 |  | Data Check: FE-T1 vs. FE-T5
DEOK UNITS |  |  |  | D10 | D12 |  | D23 | D25 | D26 |  | D30 | D56
Net Total Generation CGE Units minus East Bend & Sun Coke |  |  | Month | Receipts from Power Plants | Receipts from Other Sources | Total Receipts | Distribution to Affiliates | Distribution to COOP | Distribution to MUNI | Distribution for Load - Total | Non-Distribution Trans to Trans | Unaccounted for and Losses | Check
Net Generation Madison Units |  |  | January | 615649.03 | 2207882 | 2823531.03 | 2146678.0902 | 31835.44 | 71195.756 | 2249709.2862 | 1013849 | -440027.2562 | 0
Net Generation Hamilton Ties(1) |  |  | February | 588766.901 | 2111091 | 2699857.901 | 1738108.5137 | 26934.865 | 87631.163 | 1852674.5417 | 945379 | -98195.6407 | 0
Line 1 Sum Net(CGE,Madison,Hamilton) | 8366347.359 |  | March | 679369.093 | 2090679 | 2770048.093 | 1971078.8184 | 28864.099 | 95576.477 | 2095519.3944 | 974367 | -299838.3014 | 0
Line 2 Net(Generation from East Bend, MF-6 and WD) | 2415623.877 |  | April | 492590.921 | 1763879.995 | 2256470.916 | 1602794.3876 | 23014.464 | 84312.588 | 1710121.4396 | 709924.238 | -163574.7616 | 0
Line 3 (CGE ,Madison, East Bend,Hami) | 10781971.236 |  | May | 388037.63 | 1676705 | 2064742.63 | 1807722.016 | 23809.674 | 93855.148 | 1925386.838 | 423525 | -284169.208 | 0
Energy in from DPL(CGE ties) | 1269816 |  | June | 512674.251 | 1944539 | 2457213.251 | 1905738.2989 | 21896.37 | 102574.602 | 2030209.2709 | 793903 | -366899.0199 | 0
Energy in from OVEC(CGE ties) | 10217323 |  | July | 758325.489 | 2167017.36 | 2925342.849 | 2135082.7013 | 26839.819 | 121847.06 | 2283769.5803 | 969054 | -327480.7313 | 0
Energy in from AEP(CGE ties) | 10391528 |  | August | 556561.204 | 2294286 | 2850847.204 | 2279968.703 | 26529.032 | 120488.348 | 2426986.083 | 865751 | -441889.879 | 0
Line 4 Sum (CGE Energy Metered in DPL, OVEC,AEP) | 21878667 |  | September | 555368.333 | 1865238 | 2420606.333 | 2219778.7384 | 21491.97 | 101888.567 | 2343159.2754 | 642855 | -565407.9424 | 0
Energy in from EKP(CGE ties) | 1231105.355 |  | October | 541253.978 | 1948576 | 2489829.978 | 1687303.5678 | 20745.349 | 94118.055 | 1802166.9718 | 768270 | -80606.9938 | 0
Energy in from LGEE(CGE ties) | 199246 |  | November | 918487.479 | 1743835 | 2662322.479 | 1682504.5514 | 23599.69 | 96067.885 | 1802172.1264 | 1035361 | -175210.6474 | 0
Energy in from PSI(CGE ties) | 438186 |  | December | 812057.05 | 1933476 | 2745533.05 | 1897450.4702 | 26719.065 | 103869.61 | 2028039.1452 | 1065524 | -348030.0952 | 0
Line 5 Sum (CGE Energy Metered in EKP, LGEE, PSI) | 1868537.355 | rec | From FE-T5 | 7419141.359 | 23747204.355 | 31166345.714 | 23074208.8569 | 302279.837 | 1173425.259 | 24549913.9529 | 10207762.238 | -3591330.4769 | 0
Line 6 (Sum of Line 4 and Line 5) | 23747204.355 | total rec | From FE-T1 | 10781971.236 | 23747204.355 | 34529175.591 |  |  |  | 26066550.591 | 8462625 |  | 0
Line 7 (Sum of Line 3 and Line 6) | 34529175.591 | total rec & Gen | Check | -3362829.877 | 0 | -3362829.877 |  |  |  | -1516636.6381 | 1745137.238 | -3591330.4769 | 5.5879e-09
DEOK
Energy Out | 2023
Energy out from DPL(CGE ties) | 8022162
Energy out from OVEC(CGE ties) | 0
Energy out from AEP(CGE ties) | 368384
Line 8 (CGE Energy Metered out DPL, OVEC,AEP) | 8390546
Energy out from EKP(CGE ties) | 13362
Energy out from LGEE(CGE ties) | 0
Energy out from PSI(CGE ties) | 58717
Line 9 (CGE Energy Metered out EKP, LGEE, PSI) | 72079
Line 10 (Sum line 8 and Line 9) | 8462625
Line 11 ( Line 7 minus Line 10) | 26066550.591
CGE GCAL
ULHP Load | 4082816.721
Line 12 ( CGE GCAL - ULHP Load) | 21983733.87 | DEO Load
Line 13 | 4082816.721 | DEK Load

## TIES
| DEOK including DEI MF GRNDL-PJM | [6 empty] | DEO |  |  |  | DEK
| Sum All Ties | [6 empty] | Sum Total OVEC AEP DPL |  |  |  | EKPC LGE PSI
2023 | Deliver Mwh | Receive Mwh | [5 empty] | Deliver Mwh | Receive Mwh |  | 2023 | Deliver Mwh | Receive Mwh
Jan | 919564 | 2207882 | [5 empty] | 826577 | 2122406 |  | Jan | 0 | 0 |  | 826577 | 2122406 | -92987 | -85476
Feb | 862659 | 2111091 | [5 empty] | 793997 | 2004136 |  | Feb | 0 | 0 |  | 793997 | 2004136 | -68662 | -106955
Mar | 909299 | 2090679 | [5 empty] | 852247 | 1920255 |  | Mar | 0 | 0 |  | 852247 | 1920255 | -57052 | -170424
Apr | 631919.238 | 1763879.995 | [5 empty] | 601035 | 1575997 |  | Apr | 0 | 0 |  | 601035 | 1575997 | -30884.238 | -187882.995
May | 325734 | 1676705 | [5 empty] | 305813 | 1352250 |  | May | 0 | 0 |  | 305813 | 1352250 | -19921 | -324455
Jun | 696069 | 1944539 | [5 empty] | 647623 | 1801109 |  | Jun | 0 | 0 |  | 647623 | 1801109 | -48446 | -143430
Jul | 853513 | 2167017.36 | [5 empty] | 809232 | 1949709 |  | Jul | 0 | 0 |  | 809232 | 1949709 | -44281 | -217308.36
Aug | 751512 | 2294286 | [5 empty] | 703238 | 2069853 |  | Aug | 0 | 0 |  | 703238 | 2069853 | -48274 | -224433
Sep | 545557 | 1865238 | [5 empty] | 498414 | 1666259 |  | Sep | 0 | 0 |  | 498414 | 1666259 | -47143 | -198979
Oct | 676729 | 1948576 | [5 empty] | 622737 | 1844130 |  | Oct | 0 | 0 |  | 622737 | 1844130 | -53992 | -104446
Nov | 941621 | 1743835 | [5 empty] | 852540 | 1697265 |  | Nov | 0 | 0 |  | 852540 | 1697265 | -89081 | -46570
Dec | 971709 | 1933476 | [5 empty] | 877093 | 1875298 |  | Dec | 0 | 0 |  | 877093 | 1875298 | -94616 | -58178
Ties to line 10 on FE-T-1 | 9085885.238 | 23747204.355 | TIES TO LINE 6 on FE-T1 |  |  |  | TIES TO LINE 8 on FE-T1 | 8390546 | 21878667 | TIES TO LINE 4 on FE-T1 | TIES TO LINE 9 on FE-T1 | 0 | 0 | TIES TO LINE 5 on FE-T1 | 8390546 | 21878667 | -695339.238 | -1868537.355
CHECK
| Internal ties Delivered | [10 empty] | Internal ties Delevered
EPT | [9 empty] | Ties LGE,PSI,EKPC, DPL, AEP,OVEC |  | Ties LGE,PSI,EKPC, DPL, AEP,OVEC
2023 | AEP Cust - Lebanon OH | EKP STATIONS WITHIN CGE | LONBRANCH SERVED BY EKP | PT UNION - CITY OF HAM | Rochelle-UC Tie 1 | Rochelle-UC Tie 2 | Yankee-SunCoke | Sum |  | Deliver Mwh |  | Deliver Mwh
| 58717 | MWh | MWh | MWh | MWh | MWh | MWh | MWh |  | MWh | 2023 | MWh
January | 29964 | 10766 | 0 | 50456 | 1546 | 1540 | 13 | 94285 |  | 919564 | Jan | 1013849
February | 26562 | 9558 | 0 | 43739 | 1433 | 1428 | 0 | 82720 |  | 862659 | Feb | 945379
March | 4845 | 10507 | 0 | 47878 | 851 | 873 | 114 | 65068 |  | 909299 | Mar | 974367
April | 14087 | 9598 | 0 | 42972 | 5687 | 5661 | 0 | 78005 |  | 631919.238 | Apr | 709924.238
May | 28811 | 10757 | 0 | 49599 | 4759 | 3801 | 64 | 97791 |  | 325734 | May | 423525
June | 30059 | 11379 | 0 | 56180 | 100 | 116 | 0 | 97834 |  | 696069 | Jun | 793903
July | 34152 | 12601 | 0 | 68007 | 369 | 375 | 37 | 115541 |  | 853513 | Jul | 969054
August | 34707 | 13066 | 0 | 66234 | 111 | 121 | 0 | 114239 |  | 751512 | Aug | 865751
September | 29360 | 11223 | 0 | 56353 | 177 | 185 | 0 | 97298 |  | 545557 | Sep | 642855
October | 27273 | 10343 | 0 | 51580 | 1021 | 1017 | 307 | 91541 |  | 676729 | Oct | 768270
November | 26453 | 9661 | 0 | 51486 | 2659 | 2650 | 831 | 93740 |  | 941621 | Nov | 1035361
December | 27167 | 9761 | 0 | 56268 | 306 | 313 | 0 | 93815 |  | 971709 | Dec | 1065524
Sum | 313440 | 129220 | 0 | 640752 | 19019 | 18080 | 1366 | 1121877 |  | 9085885.238 | Sum | 10207762.238
sum of DEOK TIES GOES TO TIES TAB

## Sales Data for FE-T5
Billed Retail Sales - 2023 |  |  |  | Billed Retail Sales - 2023
KWH |  |  |  | KWH
Duke Energy - Ohio |  |  |  | Duke Energy - Kentucky
CG&E and ULHP from CMS (Total Billed Sales excluding Interdepartmental) |  |  | B |  |  |  | A
| Full Service Sales | Transportation Sales | DEO Total Billed | Full Service Sales | Transportation Sales | DEK Total Billed | DEO & DEK Combined Total Billed
January | 789374565.3 | 999396947.8 | 1788771513.1 | 357906577.1 | 0 | 357906577.1 | 2146678090.2
February | 713083103.8 | 715640136.5 | 1428723240.3 | 309385273.4 | 0 | 309385273.4 | 1738108513.7
March | 750584020.8 | 901988000.8 | 1652572021.6 | 318506796.8 | 0 | 318506796.8 | 1971078818.4
April | 586978475.4 | 808851480.6 | 1395829956 | 206964431.6 | 0 | 206964431.6 | 1602794387.6
May | 466966963.8 | 988884373.5 | 1455851337.3 | 351870678.7 | 0 | 351870678.7 | 1807722016
June | 418228542.7 | 1170235611.8 | 1588464154.5 | 317274144.4 | 0 | 317274144.4 | 1905738298.9
July | 409767480.911 | 1364813777.58 | 1774581258.491 | 360501442.806 | 0 | 360501442.806 | 2135082701.297
August | 442584237.102 | 1450106616.282 | 1892690853.384 | 387277849.598 | 0 | 387277849.598 | 2279968702.982
September | 413904088.8 | 1431612351.9 | 1845516440.7 | 374262297.7 | 0 | 374262297.7 | 2219778738.4
October | 319152715.838 | 1066218607.548 | 1385371323.386 | 301932244.462 | 0 | 301932244.462 | 1687303567.848
November | 301076490.634 | 1113332804.425 | 1414409295.059 | 268095256.331 | 0 | 268095256.331 | 1682504551.39
December | 428649191.086 | 1153261537.027 | 1581910728.113 | 315539742.101 | 0 | 315539742.101 | 1897450470.214
Total | 6040349876.171 | 13164342245.762 | 19204692121.933 | 3869516734.998 | 0 | 3869516734.998 | 23074208856.931
UPDATED WITH FACTORS+RATIOS NUMBERS on 04/26/24
58717
Note on B6: Smith, Kimberly K: Source: RAC 39 - Electric - MTD
Note on H6: Smith, Kimberly K: Source: RAC 39 - Electric - MTD
Note on B7: Smith, Kimberly K: Excludes inter-departmental
Note on D7: Smith, Kimberly K: Excludes inter-departmental
Note on H7: Smith, Kimberly K: Excludes inter-department

## JAN
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-01-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 615649.03 | 0 | 615649.03 | System Generation for CGE (Standard Loads then System Load then change to annual and CGE)
Energy Receipts from other sources | 2207882 | 0 | 2207882 | External Ties from CGE (Same as above it is in next column)
Total Energy Receipts | 2823531.03 | 0 | 2823531.03
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-01-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 2146678.0902 | 0 | 2146678.0902 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 31835.44 | 0 | 31835.44 | Buckeye & EKP @ Smith (Blank Pivot Table select Buckeye Meters and Concurren Energy Transfers (Prelim) EKP
Municipal-Owned Electric Systems | 71195.756 | 0 | 71195.756 | Hamilton, and Wholesale villages (Blank Pivot Table select Final Municipal Load and Internal Meter Tie (Pt Union City of Hamilton
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 1013849 | 0 | 1013849 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Blank Pivot table, CAO Tie Line Cube select deliver Mwh, external and internal ties then change company to CGE
Total Energy Delivery | 3322275.2862 | 0 | 3263558.2862
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-01-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1788771.5131 | 0 | 1788771.5131 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye (Blank Pivot Table select Buckeye Meters)
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages (Same number as above)
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 919564 | 0 | 919564 | Metered delivered to DPL, AEP, OVEC (After getting total for above, select all the ties for each company and remove internal ties)
Total Energy Delivery | 2708335.5131 | 0 | 2708335.5131
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-01-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -498744.2562 | 0 | -440027.2562
(a) FE-T5: Part A minus Part B (1)

## FEB
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-02-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 588766.901 | 0 | 588766.901 | System Generation for CGE
Energy Receipts from other sources | 2111091 | 0 | 2111091 | External Ties from CGE (from system load)
Total Energy Receipts | 2699857.901 | 0 | 2699857.901
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-02-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1738108.5137 | 0 | 1738108.5137 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 26934.865 | 0 | 26934.865 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 87631.163 | 0 | 87631.163 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 945379 | 0 | 945379 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 2856770.5417 | 0 | 2798053.5417
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-02-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1428723.2403 | 0 | 1428723.2403 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 862659 | 0 | 862659 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2291382.2403 | 0 | 2291382.2403
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-02-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -156912.6407 | 0 | -98195.6407
(a) FE-T5: Part A minus Part B (1)

## MAR
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-03-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 679369.093 | 0 | 679369.093
Energy Receipts from other sources | 2090679 | 0 | 2090679 | External Ties from CGE (from system load)
Total Energy Receipts | 2770048.093 | 0 | 2770048.093
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-03-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1971078.8184 | 0 | 1971078.8184 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 28864.099 | 0 | 28864.099 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 95576.477 | 0 | 95576.477 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 974367 | 0 | 974367 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 3128603.3944 | 0 | 3069886.3944
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-03-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1652572.0216 | 0 | 1652572.0216 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 909299 | 0 | 909299 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2561871.0216 | 0 | 2561871.0216
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-03-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -358555.3014 | 0 | -299838.3014
(a) FE-T5: Part A minus Part B (1)

## APR
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-04-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 492590.921 | 0 | 492590.921 | System Generation for CGE
Energy Receipts from other sources | 1763879.995 | 0 | 1763879.995 | External Ties from CGE (from system load)
Total Energy Receipts | 2256470.916 | 0 | 2256470.916
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-04-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1602794.3876 | 0 | 1602794.3876 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 23014.464 | 0 | 23014.464 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 84312.588 | 0 | 84312.588 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 709924.238 | 0 | 709924.238 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 2478762.6776 | 0 | 2420045.6776
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-04-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1395829.956 | 0 | 1395829.956 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 631919.238 | 0 | 631919.238 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2027749.194 | 0 | 2027749.194
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-04-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -222291.7616 | 0 | -163574.7616
(a) FE-T5: Part A minus Part B (1)

## MAY
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-05-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 388037.63 | 0 | 388037.63 | System Generation for CGE
Energy Receipts from other sources | 1676705 | 0 | 1676705 | External Ties from CGE (from system load)
Total Energy Receipts | 2064742.63 | 0 | 2064742.63
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-05-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1807722.016 | 0 | 1807722.016 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 23809.674 | 0 | 23809.674 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 93855.148 | 0 | 93855.148 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 423525 | 0 | 423525 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 2407628.838 | 0 | 2348911.838
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-05-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1455851.3373 | 0 | 1455851.3373 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 325734 | 0 | 325734 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 1781585.3373 | 0 | 1781585.3373
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-05-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -342886.208 | 0 | -284169.208
(a) FE-T5: Part A minus Part B (1)

## JUN
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-06-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 512674.251 | 0 | 512674.251 | System Generation for CGE
Energy Receipts from other sources | 1944539 | 0 | 1944539 | External Ties from CGE (from system load)
Total Energy Receipts | 2457213.251 | 0 | 2457213.251
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-06-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1905738.2989 | 0 | 1905738.2989 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 21896.37 | 0 | 21896.37 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 102574.602 | 0 | 102574.602 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 793903 | 0 | 793903 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 2882829.2709 | 0 | 2824112.2709
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-06-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1588464.1545 | 0 | 1588464.1545 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 696069 | 0 | 696069 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2284533.1545 | 0 | 2284533.1545
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-06-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -425616.0199 | 0 | -366899.0199
(a) FE-T5: Part A minus Part B (1)

## JUL
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-07-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 758325.489 | 0 | 758325.489 | System Generation for CGE
Energy Receipts from other sources | 2167017.36 | 0 | 2167017.36 | External Ties from CGE (from system load)
Total Energy Receipts | 2925342.849 | 0 | 2925342.849
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-07-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 2135082.7013 | 0 | 2135082.7013 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 26839.819 | 0 | 26839.819 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 121847.06 | 0 | 121847.06 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 969054 | 0 | 969054 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 3311540.5803 | 0 | 3252823.5803
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-07-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1774581.2585 | 0 | 1774581.2585 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 853513 | 0 | 853513 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2628094.2585 | 0 | 2628094.2585
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-07-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -386197.7313 | 0 | -327480.7313
(a) FE-T5: Part A minus Part B (1)

## AUG
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-08-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 556561.204 | 0 | 556561.204 | System Generation for CGE
Energy Receipts from other sources | 2294286 | 0 | 2294286 | External Ties from CGE (from system load)
Total Energy Receipts | 2850847.204 | 0 | 2850847.204
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-08-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 2279968.703 | 0 | 2279968.703 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 26529.032 | 0 | 26529.032 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 120488.348 | 0 | 120488.348 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 865751 | 0 | 865751 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 3351454.083 | 0 | 3292737.083
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-08-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1892690.8534 | 0 | 1892690.8534 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 751512 | 0 | 751512 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2644202.8534 | 0 | 2644202.8534
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-08-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -500606.879 | 0 | -441889.879
(a) FE-T5: Part A minus Part B (1)

## SEP
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-09-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 555368.333 | 0 | 555368.333 | System Generation for CGE
Energy Receipts from other sources | 1865238 | 0 | 1865238 | External Ties from CGE (from system load)
Total Energy Receipts | 2420606.333 | 0 | 2420606.333
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-09-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 2219778.7384 | 0 | 2219778.7384 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 21491.97 | 0 | 21491.97 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 101888.567 | 0 | 101888.567 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 642855 | 0 | 642855 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 3044731.2754 | 0 | 2986014.2754
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-09-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1845516.4407 | 0 | 1845516.4407 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 545557 | 0 | 545557 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2391073.4407 | 0 | 2391073.4407
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-09-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -624124.9424 | 0 | -565407.9424
(a) FE-T5: Part A minus Part B (1)

## OCT
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-10-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 541253.978 | 0 | 541253.978 | System Generation for CGE
Energy Receipts from other sources | 1948576 | 0 | 1948576 | External Ties from CGE (from system load)
Total Energy Receipts | 2489829.978 | 0 | 2489829.978
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-10-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1687303.5678 | 0 | 1687303.5678 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 20745.349 | 0 | 20745.349 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 94118.055 | 0 | 94118.055 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 768270 | 0 | 768270 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 2629153.9718 | 0 | 2570436.9718
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-10-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1385371.3234 | 0 | 1385371.3234 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 676729 | 0 | 676729 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2062100.3234 | 0 | 2062100.3234
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-10-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -139323.9938 | 0 | -80606.9938
(a) FE-T5: Part A minus Part B (1)

## NOV
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-11-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 918487.479 | 0 | 918487.479 | System Generation for CGE
Energy Receipts from other sources | 1743835 | 0 | 1743835 | External Ties from CGE (from system load)
Total Energy Receipts | 2662322.479 | 0 | 2662322.479
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-11-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1682504.5514 | 0 | 1682504.5514 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 23599.69 | 0 | 23599.69 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 96067.885 | 0 | 96067.885 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 1035361 | 0 | 1035361 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 2896250.1264 | 0 | 2837533.1264
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-11-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1414409.2951 | 0 | 1414409.2951 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  | 0 | Buckeye
Municipally-Owned Electric Systems |  |  | 0 | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 941621 | 0 | 941621 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2356030.2951 | 0 | 2356030.2951
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-11-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -233927.6474 | 0 | -175210.6474
(a) FE-T5: Part A minus Part B (1)

## DEC
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Energy Accounting will update all information in red
PART A: SOURCES OF ENERGY |  |  |  | Ibrar Khera will update information in blue
Reporting Month | 2023-12-01
1. Energy Receipts from all sources by type: (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
Energy Receipts from Power Plants directly connected to the Electric Transmission Owner's transmission system | 812057.05 | 0 | 812057.05 | System Generation for CGE
Energy Receipts from other sources | 1933476 | 0 | 1933476 | External Ties from CGE (from system load)
Total Energy Receipts | 2745533.05 | 0 | 2745533.05
PART B: DELIVERY OF ENERGY
Reporting Month | 2023-12-01
1. Energy deliveries to all points connected to the Electric Transmission Owner's system (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1897450.4702 | 0 | 1897450.4702 | CG&E and ULHP from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperative-Owned Electric System | 26719.065 | 0 | 26719.065 | Buckeye & EKP @ Smith
Municipal-Owned Electric Systems | 103869.61 | 0 | 103869.61 | Hamilton, and Wholesale villages
Federal and State Electric Agencies
Other end user service | 58717
For Non Distribution service (transmission to transmission service) | 1065524 | 0 | 1065524 | Starting with 2003 report this line shows metered delivered by CGE (includes to PSI)
Total Energy Delivery | 3152280.1452 | 0 | 3093563.1452
FORM FE-T5 MONTHLY ENERGY TRANSACTIONS (TOTAL MWH/MONTH) FOR THE MOST RECENT YEAR
Reporting Month | 2023-12-01
2. Energy deliveries to all points connected to the Electric Transmission Owner's system located in Ohio (MWH)
| Firm Transmission Service | Non-Firm Transmission Service | Total
For Distribution service:
Affiliated Electric Utility Companies | 1581910.7281 | 0 | 1581910.7281 | CGE from CMS (Total Billed Sales Including Transportation)
Other Investor-Owned Electric Utilities
Cooperatively-Owned Electric System |  |  |  | Buckeye
Municipally-Owned Electric Systems |  |  |  | Hamilton and Villages
Federal and State Electric Agencies
Other end user service
For Non Distribution service (transmission to transmission service) | 971709 | 0 | 971709 | Metered delivered to DPL, AEP, OVEC
Total Energy Delivery | 2553619.7281 | 0 | 2553619.7281
PART C: LOSSES AND UNACCOUNTED FOR (MWH)
REPORTING MONTH | 2023-12-01
| Firm Transmission Service | Non-Firm Transmission Service | Total
Sources minus Delivery (a) | -406747.0952 | 0 | -348030.0952
(a) FE-T5: Part A minus Part B (1)