on behalf of Customer to Company at point(s) of receipt with an interstate pipeline shall conform to the interstate pipeline's gas quality standards.

B.	Quality of Gas at Other Point(s) of Receipt.  Gas delivered by or on behalf of Customer to Company at point(s) of receipt other than an interstate pipeline shall be commercially free from oil, water, air, salt, dust, gum, gum-forming constituents, harmful or noxious vapors, or other solid or liquid matter which might interfere with its merchantability or cause to or interference with proper operation of the lines, regulators, meters, and other equipment of Company or its customers.

Customer will indemnify and hold Company harmless from any suits, actions, debts, accounts, damages, costs, losses and expenses, including but not limited to, attorneys' fees and expenses, arising from personal injury, death, or damage to Company's equipment  or facilities or arising from personal injuries, death, or damage to the facilities, products, or equipment of Company's other customers or third parties, or arising from additional hours worked by Company or its other customers or third parties, caused as a result of Customer's gas failing to meet the quality specifications set forth herein.

However, pursuant to the Commission's opinion and order in Case No. 85-1406-AU-COI, approval of the above tariff language by the Commission does not constitute a determination by the Commission that the limitation of liability imposed by the Company should be upheld in a court of law.  Approval by the Commission merely recognizes that since it is a court's responsibility to adjudicate negligence and consequent damage claims, it is also the court's responsibility to determine the validity of the exculpatory clause.

To assure that the gas delivered by Customer to Company conforms to the quality specifications of this Section, Customer's gas shall be analyzed at the point(s) of receipt from time-to-time as Company deems necessary.  Such analysis will be performed by Company at its expense.  If, however, such analysis by Company discloses quality deficiencies, the cost of subsequent retesting to assure conformity with this Section shall be borne by Customer.  The gas delivered shall not contain in excess of:

1.	One percent (1%) by volume of oxygen,

2.	Seven (7) pounds of water per million cubic feet of gas at the base pressure and temperature of fourteen and seventy-three hundredths (14.73) psia and sixty (60) degrees Fahrenheit.  The water vapor will be determined by the use of the Bureau of Mines type dewpoint apparatus or in accordance with the latest approved methods generally in use in the natural gas industry;

3.	Four percent (4%) by volume of nitrogen,

4.  	Two percent (2%) by volume of carbon dioxide,

3.	Five  percent (5%) by volume of a combined total of carbon dioxide and nitrogen components;