**Case No. 11-0136-EL-REN**

**Cook Residence – D. Cook**

**Staff Interrogatories – Initial Set - Response**

Question 1:   In ‘Section N: Meter Specifications’ of the application the reported meter reading at the time of the photograph did not match the meter reading displayed in the photo. Please clarify this discrepancy in the space below.

Answer 1:   The correct reading for the Sangamo type J5S meter at the time the photo was taken on 05/27/2010 was 11 kWh. The 44680 kWh reading provided on the original application was the reading of the electric meter not the solar meter and was an error on our part.