May 23, 2012

Ms. Renee J. Jenkins

Director, Administration Department

Secretary to the Commission

Docketing Division

The Public Utilities Commission of Ohio

180 East Broad Street

Columbus, OH  43215-3793

RE:	Columbia Gas of Ohio, Inc.

- Construction Notice:

- Columbus HP Casing Project

PUCO Case No. 12-1663-GA-BNR

Dear Ms. Jenkins:

In accordance with Ohio Administrative Code (OAC) §4906-11-02, Columbia Gas of Ohio, Inc. (Columbia) hereby transmits the enclosed proposed pipeline project known as the Columbus HP Casing Project.

The project area is located at the intersection of Dublin Road and Limestone Way.  In addition, a second portion of the project is located between Alger Road and US 62 in Columbus, Franklin County, Ohio.

Please be advised of the following:

- Project Name:  Columbus HP Casing Project

- Project Description:  The proposed Columbus HP casing project includes installing approximately 700 feet of 20-inch at the intersection of Dublin Road and Limestone Way and 400 feet of 24” inch coated steel high pressure gas main near Alger Road and State. Route 62 (maps attached).

This project meets the requirements of Construction Notice at it falls under “rerouting or extension or new gas transmission line and associated facilities, not greater than one mile in length.”  (OAC 4906-1-01, Appendix B).

3.	Project Need:  This project is a system betterment project required by Columbia Gas of Ohio.

4.	Schedule:  Construction is planned to start as early as May 1, 2012 with an expected end date of November 1, 2012.

- Capital Cost:  The capital cost of the Columbus HP Casing Project is approximately $1,800,000.

- Operating Features:  MAOP 190 PSIG.  All high pressure mains will be installed within private easement and existing public right-of-way.  A map showing the pipeline route is attached.

- Map and Directions:  A USGS map of the project location is attached to this Construction Notice. In order to locate the first portion of the proposed site, take US 33 to Trabue Avenue and turn left for approximately 0.5 mile.  Then turn right on to Dublin Road and go approximately 0.5 mile and Limestone Way is the second right.  For the second site take I-670 East to US 62E and turn left onto North Stygler Road and then left onto Alger Road.

We have provided a copy of the Letter of Notification by certified mail, with return receipt requested, to each official of the political subdivisions immediately affected by the proposed project as listed in the attached Exhibit 1. Copies of the transmittal letters addressed to the local government representatives of the City of Columbus and Franklin County are enclosed for your file.

Should staff of the Ohio Power Siting Board desire further information or discussion of this submittal, please contact me at (614) 481-1121.

Sincerely,

/s/ Brooke E. Leslie

Brooke E. Leslie

200 Civic Center Drive

Columbus, Ohio 43215

bleslie@nisource.com

Counsel for Columbia Gas of Ohio, Inc.

/s/ Gary Estep

- Gary Estep

Project Manager

Columbia Gas of Ohio

1600 Dublin Road

Columbus, OH  43215

gestep@nisource.com

Attachment

- EXHIBIT 1:  OFFICIALS SERVED COPY OF CONSTRUCTION NOTIFICATION

- COLUMBUS HP CASING PROJECT

Case No. 12-1663-GA-BNR

- Franklin County

Mr. Don L. Brown, County Administrator		Mr. Dean Ringle, P.E.

Franklin County Board Commissioners		Franklin County Engineer

373 S. High Street, 26th Floor				970 Dublin Road

Columbus, OH 43215-6314				Columbus, OH 43215-1184

Ms. Marilyn Brown					Mr. John O’Grady

Franklin County Board of Commissioners		Franklin County Board of Commissioners

373 S. High Street, 26th Floor				373 S. High Street, 26th Floor

Columbus, OH 43215-6314				Columbus, OH 43215-6314

Ms. Paula Brooks, President				Mr. James Schimmer, Director

Franklin County Board of Commissioners		Franklin County Economic Development

373 S. High Street, 26th Floor				and Planning

Columbus, OH 43215-6314				150 South Front Street, FSL Suite 10

Columbus, OH 43215

Columbus & Franklin County				Franklin County Soil & Water

Metropolitan Park District	Conservation District

1069 West Main Street	Ms. Jennifer Fish, Director

Westerville, OH 43081				1328 Dublin Road, Suite 101

Columbus, OH 43215

Mid-Ohio Regional Planning Commission

Mr. Chester R. Jourdan, Jr., Executive Director

111 Liberty Street, Suite 100

Columbus, OH 43215

- City of Columbus

Mr. Michael B. Coleman				Mr. Hassan Zahran

Mayor, City of Columbus				Columbus City Engineer

City Hall, 2nd Floor					109 North Front Street

90 West Broad Street					Columbus, OH 43215-2806

Columbus, OH 43215

Mr. Andrew J. Ginther					Mr. Boyce Safford, Director of Development

President, Columbus City Council	Department of Development

City Hall, Room 231	50 West Gay Street, Third Floor

90 West Broad Street					Columbus, OH 43215

Columbus, OH 43215