## System Delivery
Ohio American Water Company
Timberbrook - Franklin County
| Year | 2012 | [5 empty] | PWSID | OH2502712
|  | Water | UFW | Avg Daily | High | Date Of | Low | Date Of | # Days
|  | Delivery | % | Flow | Flow | High | Flow | Low | Exceed
Quarter | Month | (MG) |  | (MGD) | (MGD) | Flow | (MGD) | Flow | Dsgn Cap
1 | 1 | 1.617 | 14.99% | 0.052 | 0.096 | 2012-01-13 | 0.004 | 2012-01-23 | 0
| 2 | 1.368 | 16.39% | 0.047 | 0.114 | 2012-02-22 | 0.002 | 2012-02-07 | 0
| 3 | 1.492 | 15.64% | 0.048 | 0.097 | 2012-03-25 | 0.001 | 2012-03-26 | 0 | Total Count | 277
2 | 4
5
| 6 | [8 empty] | Total Count
3 | 7
8
| 9 | [8 empty] | Total Count
4 | 10
11
| 12 | [8 empty] | Total Count
| Avg | 1.4923 | 15.67% | 0.049 | 0.10233 |  | 0.0023333 |  | 0
| High | 1.617 | 16.39% | 0.052 | 0.114 |  | 0.004 |  | 0
| Low | 1.368 | 14.99% | 0.047 | 0.096 |  | 0.001 |  | 0
|  |  |  | Enter System Code |  | OAMTM
|  |  |  | Enter Units of Flow |  | 3 | [5 empty] | (gallons)
(1000 gallons)
|  |  |  | Units of Flow | [7 empty] | (MG)
|  |  |  | 1 |  | (Gallons) |  | (GPD)
|  |  |  | 2 |  | (1000 Gal) |  | (1000 GPD)
|  |  |  | 3 |  | (MG) |  | (MGD)

## Customer Contacts
Ohio American Water Company
Timberbrook - Franklin County
| Year | 2012 |  |  |  |  | PWSID | OH2502712
Quarter # 1
Total Customer Contacts
187
Customer Services |  |  |  |  | Metering
|  |  | Inquiries | Complaints |  |  | Inquiries | Complaints
Account Information |  |  | 141 | 0 | Estimating |  | 0 | 0
Bad Debt/Bankruptcy |  |  | 0 | 0 | Meter Reading |  | 0 | 0
Bill Adjustment |  |  | 1 | 0 | Meter Repair/Leak |  | 0 | 0
Bill Information/Format |  |  | 0 | 0 | Meter Replacement |  | 0 | 0
Consumption |  |  | 0 | 0 | Others: Metering |  | 0 | 0
Customer Notices |  |  | 0 | 0 |  | Total | 0 | 0
Customer Service Staff |  |  | 0 | 0
Disconnection for Non-Pay |  |  | 3 | 0 | Water Quality
Final Service |  |  | 3 | 0
General Information |  |  | 6 | 0 |  |  | Inquiries | Complaints
New Service |  |  | 3 | 0 | Discolored Water |  | 0 | 0
NSF Check |  |  | 0 | 0 | Hardness |  | 0 | 0
Payment Arrangements |  |  | 1 | 0 | Low Pressure |  | 0 | 0
Rates |  |  | 0 | 0 | Odor |  | 0 | 0
Reconnection Non-Pay |  |  | 0 | 0 | Particles in Water |  | 0 | 0
Service Order Appointment |  |  | 4 | 0 | Scum/Oil in Water |  | 0 | 0
Other: Customer Service |  |  | 22 | 0 | Taste |  | 0 | 0
|  | Total | 184 | 0 | Other: Water Quality |  | 0 | 0
[6 empty] | Total | 0 | 0
Water Service
|  |  | Inquiries | Complaints
Disconnection for Repairs |  |  | 0 | 0
Main Breaks |  |  | 3 | 0
Mark Water Lines/Line Inspect |  |  | 0 | 0
Restoration |  |  | 0 | 0
Service line leak |  |  | 0 | 0
Water Sampling |  |  | 0 | 0
Others: Water Service |  |  | 0 | 0
|  | Total | 3 | 0
Quarter # 2
Total Customer Contacts
0
Customer Services |  |  |  |  | Metering
|  |  | Inquiries | Complaints |  |  | Inquiries | Complaints
Account Information |  |  |  |  | Estimating
Bad Debt/Bankruptcy |  |  |  |  | Meter Reading
Bill Adjustment |  |  |  |  | Meter Repair/Leak
Bill Information/Format |  |  |  |  | Meter Replacement
Consumption |  |  |  |  | Others: Metering
Customer Notices | [5 empty] | Total | 0 | 0
Customer Service Staff
Disconnection for Non-Pay |  |  |  |  | Water Quality
Final Service
General Information | [6 empty] | Inquiries | Complaints
New Service |  |  |  |  | Discolored Water
NSF Check |  |  |  |  | Hardness
Payment Arrangements |  |  |  |  | Low Pressure
Rates |  |  |  |  | Odor
Reconnection Non-Pay |  |  |  |  | Particles in Water
Service Order Appointment |  |  |  |  | Scum/Oil in Water
Other: Customer Service |  |  |  |  | Taste
|  | Total | 0 | 0 | Other: Water Quality
[6 empty] | Total | 0 | 0
Water Service
|  |  | Inquiries | Complaints
Disconnection for Repairs
Main Breaks
Mark Water Lines/Line Inspect
Restoration
Service line leak
Water Sampling
Others: Water Service
|  | Total | 0 | 0
Quarter # 3
Total Customer Contacts
0
Customer Services |  |  |  |  | Metering
|  |  | Inquiries | Complaints |  |  | Inquiries | Complaints
Account Information |  |  |  |  | Estimating
Bad Debt/Bankruptcy |  |  |  |  | Meter Reading
Bill Adjustment |  |  |  |  | Meter Repair/Leak
Bill Information/Format |  |  |  |  | Meter Replacement
Consumption |  |  |  |  | Others: Metering
Customer Notices | [5 empty] | Total | 0 | 0
Customer Service Staff
Disconnection for Non-Pay |  |  |  |  | Water Quality
Final Service
General Information | [6 empty] | Inquiries | Complaints
New Service |  |  |  |  | Discolored Water
NSF Check |  |  |  |  | Hardness
Payment Arrangements |  |  |  |  | Low Pressure
Rates |  |  |  |  | Odor
Reconnection Non-Pay |  |  |  |  | Particles in Water
Service Order Appointment |  |  |  |  | Scum/Oil in Water
Other: Customer Service |  |  |  |  | Taste
|  | Total | 0 | 0 | Other: Water Quality
[6 empty] | Total | 0 | 0
Water Service
|  |  | Inquiries | Complaints
Disconnection for Repairs
Main Breaks
Mark Water Lines/Line Inspect
Restoration
Service line leak
Water Sampling
Others: Water Service
|  | Total | 0 | 0
Quarter # 4
Total Customer Contacts
0
Customer Services |  |  |  |  | Metering
|  |  | Inquiries | Complaints |  |  | Inquiries | Complaints
Account Information |  |  |  |  | Estimating
Bad Debt/Bankruptcy |  |  |  |  | Meter Reading
Bill Adjustment |  |  |  |  | Meter Repair/Leak
Bill Information/Format |  |  |  |  | Meter Replacement
Consumption |  |  |  |  | Others: Metering
Customer Notices | [5 empty] | Total | 0 | 0
Customer Service Staff
Disconnection for Non-Pay |  |  |  |  | Water Quality
Final Service
General Information | [6 empty] | Inquiries | Complaints
New Service |  |  |  |  | Discolored Water
NSF Check |  |  |  |  | Hardness
Payment Arrangements |  |  |  |  | Low Pressure
Rates |  |  |  |  | Odor
Reconnection Non-Pay |  |  |  |  | Particles in Water
Service Order Appointment |  |  |  |  | Scum/Oil in Water
Other: Customer Service |  |  |  |  | Taste
|  | Total | 0 | 0 | Other: Water Quality
[6 empty] | Total | 0 | 0
Water Service
|  |  | Inquiries | Complaints
Disconnection for Repairs
Main Breaks
Mark Water Lines/Line Inspect
Restoration
Service line leak
Water Sampling
Others: Water Service
|  | Total | 0 | 0

## Disconnections
Ohio American Water Company
Timberbrook - Franklin County
System Code | Year | Quarter | Disconnection Category | Violation Type | Number of Disconnections
OAMTM | 2012 | 1 | W/14 Day Notice | Non-Payment | 1
OAMTM | 2012 | 1 | W/14 Day Notice | Non-Emergency Regulation Violation | 0
OAMTM | 2012 | 1 | W/14 Day Notice | Application Misrepresentation | 0
OAMTM | 2012 | 1 | W/14 Day Notice | Access Denial | 0
OAMTM | 2012 | 1 | W/14 Day Notice | Other | 0
OAMTM | 2012 | 1 | With 24 Hours Notice | Non-Payment | 0
OAMTM | 2012 | 1 | With 24 Hours Notice | Non-Emergency Regulation Violation | 0
OAMTM | 2012 | 1 | With 24 Hours Notice | Application Misrepresentation | 0
OAMTM | 2012 | 1 | With 24 Hours Notice | Access Denial | 0
OAMTM | 2012 | 1 | With 24 Hours Notice | Other | 0
OAMTM | 2012 | 1 | Without Notice | Cross-connection | 0
OAMTM | 2012 | 1 | Without Notice | Other | 0
OAMTM | 2012 | 1 | Without Notice | Tampering | 0
System Code | Year | Quarter | Disconnection Category | Violation Type | Number of Disconnections
OAMTM | 2012 | 2 | W/14 Day Notice | Non-Payment
OAMTM | 2012 | 2 | W/14 Day Notice | Non-Emergency Regulation Violation
OAMTM | 2012 | 2 | W/14 Day Notice | Application Misrepresentation
OAMTM | 2012 | 2 | W/14 Day Notice | Access Denial
OAMTM | 2012 | 2 | W/14 Day Notice | Other
OAMTM | 2012 | 2 | With 24 Hours Notice | Non-Payment
OAMTM | 2012 | 2 | With 24 Hours Notice | Non-Emergency Regulation Violation
OAMTM | 2012 | 2 | With 24 Hours Notice | Application Misrepresentation
OAMTM | 2012 | 2 | With 24 Hours Notice | Access Denial
OAMTM | 2012 | 2 | With 24 Hours Notice | Other
OAMTM | 2012 | 2 | Without Notice | Cross-connection
OAMTM | 2012 | 2 | Without Notice | Other
OAMTM | 2012 | 2 | Without Notice | Tampering
System Code | Year | Quarter | Disconnection Category | Violation Type | Number of Disconnections
OAMTM | 2012 | 3 | W/14 Day Notice | Non-Payment
OAMTM | 2012 | 3 | W/14 Day Notice | Non-Emergency Regulation Violation
OAMTM | 2012 | 3 | W/14 Day Notice | Application Misrepresentation
OAMTM | 2012 | 3 | W/14 Day Notice | Access Denial
OAMTM | 2012 | 3 | W/14 Day Notice | Other
OAMTM | 2012 | 3 | With 24 Hours Notice | Non-Payment
OAMTM | 2012 | 3 | With 24 Hours Notice | Non-Emergency Regulation Violation
OAMTM | 2012 | 3 | With 24 Hours Notice | Application Misrepresentation
OAMTM | 2012 | 3 | With 24 Hours Notice | Access Denial
OAMTM | 2012 | 3 | With 24 Hours Notice | Other
OAMTM | 2012 | 3 | Without Notice | Cross-connection
OAMTM | 2012 | 3 | Without Notice | Other
OAMTM | 2012 | 3 | Without Notice | Tampering
System Code | Year | Quarter | Disconnection Category | Violation Type | Number of Disconnections
OAMTM | 2012 | 4 | W/14 Day Notice | Non-Payment
OAMTM | 2012 | 4 | W/14 Day Notice | Non-Emergency Regulation Violation
OAMTM | 2012 | 4 | W/14 Day Notice | Application Misrepresentation
OAMTM | 2012 | 4 | W/14 Day Notice | Access Denial
OAMTM | 2012 | 4 | W/14 Day Notice | Other
OAMTM | 2012 | 4 | With 24 Hours Notice | Non-Payment
OAMTM | 2012 | 4 | With 24 Hours Notice | Non-Emergency Regulation Violation
OAMTM | 2012 | 4 | With 24 Hours Notice | Application Misrepresentation
OAMTM | 2012 | 4 | With 24 Hours Notice | Access Denial
OAMTM | 2012 | 4 | With 24 Hours Notice | Other
OAMTM | 2012 | 4 | Without Notice | Cross-connection
OAMTM | 2012 | 4 | Without Notice | Other
OAMTM | 2012 | 4 | Without Notice | Tampering

## Flushing
Ohio American Water Company
Timberbrook - Franklin County
Routine (Annual/Semi-Annual) Flushing Information
| Year | 2012 | Quarter: | 1 |  | PWSID: | OH2502712
Was the system flushed this quarter? |  | Yes: | o | No: | x | If yes: | o
Begin Date: | End Date: |  | Notification Date: |  |  | Notification Method:
[6 empty] | o | Newspaper
[6 empty] | o | Sign Posting
[6 empty] | o | Radio
[6 empty] | o | Bill Insert
[6 empty] | o | Marquee
[6 empty] | o | Other
|  |  | Quarter: | 2
Was the system flushed this quarter? |  | Yes: | x | No: | o | If yes: | x
Begin Date: | End Date: |  | Notification Date: |  |  | Notification Method:
[6 empty] | x | Newspaper
[6 empty] | x | Sign Posting
[6 empty] | o | Radio
[6 empty] | x | Bill Insert
[6 empty] | o | Marquee
[6 empty] | o | Other
|  |  | Quarter: | 3
Was the system flushed this quarter? |  | Yes: | o | No: | x | If yes: | o
Begin Date: | End Date: |  | Notification Date: |  |  | Notification Method:
[6 empty] | o | Newspaper
[6 empty] | o | Sign Posting
[6 empty] | o | Radio
[6 empty] | o | Bill Insert
[6 empty] | o | Marquee
[6 empty] | o | Other
|  |  | Quarter: | 4
Was the system flushed this quarter? |  | Yes: | x | No: | o | If yes: | x
Begin Date: | End Date: |  | Notification Date: |  |  | Notification Method:
[6 empty] | o | Newspaper
[6 empty] | x | Sign Posting
[6 empty] | o | Radio
[6 empty] | o | Bill Insert
[6 empty] | o | Marquee
[6 empty] | o | Other

## Main Break Outages
Please try to input data in formate indicated in collumn title row, or use typical responses provided on MB_Codes sheet of this workbook. CTEvans
[System Code] (as provided by PUCO) | [Year] | [Quarter] | [OutageID] (to be provided by PUCO) | [Street Address] | [Political Subdivision] | [Date of Main Break/Outage] (mm/dd/yy) | [General Type] (Planned or Unplanned) | [Specific Type] | [Main Size (inches)] | [Main Type] | [Break Causes] | [Planned Outage Cause] | [Number of Breaks on this Main in Past 5 Years] | [Number of Services Affected] | [Isolation Valves Used (Yes/No)] | [Repair Means] | [Date Company Became Aware of Problem] (mm/dd/yy) | [Time Company Became Aware of Problem] (ex 23:59) | [Date Problem Resolved] (mm/dd/yy) | [Time Problem Resolved] (ex 23:59) | [Date Affected Area Flushed] (mm/dd/yy) | [Date Boil Advisory Issued] (mm/dd/yy) | [Time Boil Advisory Issued] (ex 23:59) | [Date Boil Advisory Rescinded] (mm/dd/yy) | [Time Boil Advisory Rescinded] (ex 23:59)
OAMTB | 2012 | 1 |  | No Outages Reported This Quarter
OAMTB | 2012 | 2
OAMTB | 2012 | 3
OAMTB | 2012 | 4

## System Delivery Converstion (hidden)
System Code | Year | Quarter | Month 1 Water Delivery (gals) | Month 1 UFW (%) | Month 1 Average Daily Flow (gals) | Month 1 High Flow (gals) | Month 1 Date of High Flow | Month 1 Low Flow (gals) | Month 1 Date of Low Flow | Month 1 Number of Days Exceeding Design Capacity | Month 2 Water Delivery (gals) | Month 2 UFW (%) | Month 2 Average Daily Flow (gals) | Month 2 High Flow (gals) | Month 2 Date of High Flow | Month 2 Low Flow (gals) | Month 2 Date of Low Flow | Month 2 Number of Days Exceeding Design Capacity | Month 3 Water Delivery (gals) | Month 3 UFW (%) | Month 3 Average Daily Flow (gals) | Month 3 High Flow (gals) | Month 3 Date of High Flow | Month 3 Low Flow (gals) | Month 3 Date of Low Flow | Month 3 Number of Days Exceeding Design Capacity | LastUpdated | UserName | rowguid
OAMTM | 2012 | 1 | 1617000 | 14.99 | 52000 | 96000 | 2012-01-13 | 4000 | 2012-01-23 | 0 | 1368000 | 16.39 | 47000 | 114000 | 2012-02-22 | 2000 | 2012-02-07 | 0 | 1492000 | 15.64 | 48000 | 97000 | 2012-03-25 | 1000 | 2012-03-26 | 0
OAMTM | 2012 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OAMTM | 2012 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OAMTM | 2012 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Copy current quarter row as values
OAMAR | 2010 | 4 | 712000 | -61.66 | 37419.3548 | 58000 | 2010-10-12 | 30000 | 2010-10-31 | 0 | 1279000 | 23.22 | 23733.3333 | 60000 | 2010-11-19 | 12000 | 2010-11-05 | 0 | 1161000 | -10.51 | 41258.0645 | 46000 | 2011-12-25 | 18000 | 2010-12-04 | 0

## GCI (hidden)
System Code | Year | Quarter | Date Report Received | Average Customer Count | LastUpdated | UserName
OAMTM | 2012 | 1 |  | 277 |  | cevans
OAMTM | 2012 | 2 |  | 0 |  | cevans
OAMTM | 2012 | 3 |  | 0 |  | cevans
OAMTM | 2012 | 4 | 2010-01-17 | 0 | 2011-01-26 | cevans

## CC (hidden)
FIRST QUARTER | [6 empty] | SECOND QUARTER | [6 empty] | THIRD QUARTER | [6 empty] | FOURTH QUARTER
System Code | Year | Quarter | Contact Category | Contact SubCategory | Number of Inquiries | Number of Complaints | System Code | Year | Quarter | Contact Category | Contact SubCategory | Number of Inquiries | Number of Complaints | System Code | Year | Quarter | Contact Category | Contact SubCategory | Number of Inquiries | Number of Complaints | System Code | Year | Quarter | Contact Category | Contact SubCategory | Number of Inquiries | Number of Complaints
OAMTM | 2012 | 1 | Customer Service | Account Information | 141 | 0 | OAMTM | 2012 | 2 | Customer Service | Account Information | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Account Information | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Account Information | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Bad Debt/Bankruptcy | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Bad Debt/Bankruptcy | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Bad Debt/Bankruptcy | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Bad Debt/Bankruptcy | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Bill Adjustment | 1 | 0 | OAMTM | 2012 | 2 | Customer Service | Bill Adjustment | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Bill Adjustment | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Bill Adjustment | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Bill Information/Format | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Bill Information/Format | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Bill Information/Format | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Bill Information/Format | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Consumption | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Consumption | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Consumption | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Consumption | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Customer Notices | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Customer Notices | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Customer Notices | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Customer Notices | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Customer Service Staff | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Customer Service Staff | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Customer Service Staff | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Customer Service Staff | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Disconnection for Non-Pay | 3 | 0 | OAMTM | 2012 | 2 | Customer Service | Disconnection for Non-Pay | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Disconnection for Non-Pay | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Disconnection for Non-Pay | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Final Service | 3 | 0 | OAMTM | 2012 | 2 | Customer Service | Final Service | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Final Service | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Final Service | 0 | 0
OAMTM | 2012 | 1 | Customer Service | General Information | 6 | 0 | OAMTM | 2012 | 2 | Customer Service | General Information | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | General Information | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | General Information | 0 | 0
OAMTM | 2012 | 1 | Customer Service | New Service | 3 | 0 | OAMTM | 2012 | 2 | Customer Service | New Service | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | New Service | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | New Service | 0 | 0
OAMTM | 2012 | 1 | Customer Service | NSF Check | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | NSF Check | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | NSF Check | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | NSF Check | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Payment Arrangements | 1 | 0 | OAMTM | 2012 | 2 | Customer Service | Payment Arrangements | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Payment Arrangements | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Payment Arrangements | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Rates | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Rates | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Rates | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Rates | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Reconnection (Non-pay) | 0 | 0 | OAMTM | 2012 | 2 | Customer Service | Reconnection (Non-pay) | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Reconnection (Non-pay) | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Reconnection (Non-pay) | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Service Order Appointment | 4 | 0 | OAMTM | 2012 | 2 | Customer Service | Service Order Appointment | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Service Order Appointment | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Service Order Appointment | 0 | 0
OAMTM | 2012 | 1 | Customer Service | Other | 22 | 0 | OAMTM | 2012 | 2 | Customer Service | Other | 0 | 0 | OAMTM | 2012 | 3 | Customer Service | Other | 0 | 0 | OAMTM | 2012 | 4 | Customer Service | Other | 0 | 0
OAMTM | 2012 | 1 | Metering | Estimating | 0 | 0 | OAMTM | 2012 | 2 | Metering | Estimating | 0 | 0 | OAMTM | 2012 | 3 | Metering | Estimating | 0 | 0 | OAMTM | 2012 | 4 | Metering | Estimating | 0 | 0
OAMTM | 2012 | 1 | Metering | Meter Reading | 0 | 0 | OAMTM | 2012 | 2 | Metering | Meter Reading | 0 | 0 | OAMTM | 2012 | 3 | Metering | Meter Reading | 0 | 0 | OAMTM | 2012 | 4 | Metering | Meter Reading | 0 | 0
OAMTM | 2012 | 1 | Metering | Meter Repair/Leak | 0 | 0 | OAMTM | 2012 | 2 | Metering | Meter Repair/Leak | 0 | 0 | OAMTM | 2012 | 3 | Metering | Meter Repair/Leak | 0 | 0 | OAMTM | 2012 | 4 | Metering | Meter Repair/Leak | 0 | 0
OAMTM | 2012 | 1 | Metering | Meter Replacement | 0 | 0 | OAMTM | 2012 | 2 | Metering | Meter Replacement | 0 | 0 | OAMTM | 2012 | 3 | Metering | Meter Replacement | 0 | 0 | OAMTM | 2012 | 4 | Metering | Meter Replacement | 0 | 0
OAMTM | 2012 | 1 | Metering | Other | 0 | 0 | OAMTM | 2012 | 2 | Metering | Other | 0 | 0 | OAMTM | 2012 | 3 | Metering | Other | 0 | 0 | OAMTM | 2012 | 4 | Metering | Other | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Discolored Water | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Discolored Water | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Discolored Water | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Discolored Water | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Hardness | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Hardness | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Hardness | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Hardness | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Low Pressure | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Low Pressure | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Low Pressure | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Low Pressure | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Odor | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Odor | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Odor | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Odor | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Particles in Water | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Particles in Water | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Particles in Water | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Particles in Water | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Scum/Oil in Water | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Scum/Oil in Water | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Scum/Oil in Water | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Scum/Oil in Water | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Taste | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Taste | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Taste | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Taste | 0 | 0
OAMTM | 2012 | 1 | Water Quality | Other | 0 | 0 | OAMTM | 2012 | 2 | Water Quality | Other | 0 | 0 | OAMTM | 2012 | 3 | Water Quality | Other | 0 | 0 | OAMTM | 2012 | 4 | Water Quality | Other | 0 | 0
OAMTM | 2012 | 1 | Water Service | Disconnection for Repairs | 0 | 0 | OAMTM | 2012 | 2 | Water Service | Disconnection for Repairs | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Disconnection for Repairs | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Disconnection for Repairs | 0 | 0
OAMTM | 2012 | 1 | Water Service | Main Break | 3 | 0 | OAMTM | 2012 | 2 | Water Service | Main Break | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Main Break | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Main Break | 0 | 0
OAMTM | 2012 | 1 | Water Service | Mark Water Lines/Line Inspect | 0 | 0 | OAMTM | 2012 | 2 | Water Service | Mark Water Lines/Line Inspect | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Mark Water Lines/Line Inspect | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Mark Water Lines/Line Inspect | 0 | 0
OAMTM | 2012 | 1 | Water Service | Restoration | 0 | 0 | OAMTM | 2012 | 2 | Water Service | Restoration | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Restoration | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Restoration | 0 | 0
OAMTM | 2012 | 1 | Water Service | Service line leak | 0 | 0 | OAMTM | 2012 | 2 | Water Service | Service line leak | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Service line leak | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Service line leak | 0 | 0
OAMTM | 2012 | 1 | Water Service | Water Sampling | 0 | 0 | OAMTM | 2012 | 2 | Water Service | Water Sampling | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Water Sampling | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Water Sampling | 0 | 0
OAMTM | 2012 | 1 | Water Service | Other | 0 | 0 | OAMTM | 2012 | 2 | Water Service | Other | 0 | 0 | OAMTM | 2012 | 3 | Water Service | Other | 0 | 0 | OAMTM | 2012 | 4 | Water Service | Other | 0 | 0
|  |  |  | Totals: | 46 | 0 |  |  |  |  | Totals: | #REF! | #REF! |  |  |  |  | Totals: | 0 | 0 |  |  |  |  | Totals: | 0 | 0
OAMTM | 2011 | 1 | Customer Service | Account Information | 27 | 0
OAMTM | 2011 | 1 | Customer Service | Bad Debt/Bankruptcy | 1 | 0
OAMTM | 2011 | 1 | Customer Service | Bill Adjustment | 42 | 0
OAMTM | 2011 | 1 | Customer Service | Bill Information/Format | 2 | 0
OAMTM | 2011 | 1 | Customer Service | Consumption | 1 | 0
OAMTM | 2011 | 1 | Customer Service | Disconnection for Non-Pay | 2 | 0
OAMTM | 2011 | 1 | Customer Service | Final Service | 1 | 0
OAMTM | 2011 | 1 | Customer Service | General Information | 10 | 0
OAMTM | 2011 | 1 | Customer Service | New Service | 1 | 0
OAMTM | 2011 | 1 | Customer Service | Other | 58 | 0
OAMTM | 2011 | 1 | Customer Service | Payment Arrangements | 1 | 0
OAMTM | 2011 | 1 | Customer Service | Reconnection (Non-pay) | 2 | 0
OAMTM | 2011 | 1 | Customer Service | Service Order Appointment | 10 | 0
OAMTM | 2011 | 1 | Metering | Meter Reading | 2 | 0
OAMTM | 2011 | 1 | Metering | Meter Repair/Leak | 1 | 0
OAMTM | 2011 | 1 | Water Quality | Low Pressure | 1 | 0

## WPI (hidden)
Conversion |  | 1000000 |  |  | Percentage Conversion (?) |  | 100
System Code | Year | Quarter | Month 1 Water Delivery (gals) | Month 1 UFW (%) | Month 1 Average Daily Flow (gals) | Month 1 High Flow (gals) | Month 1 Date of High Flow | Month 1 Low Flow (gals) | Month 1 Date of Low Flow | Month 1 Number of Days Exceeding Design Capacity | Month 2 Water Delivery (gals) | Month 2 UFW (%) | Month 2 Average Daily Flow (gals) | Month 2 High Flow (gals) | Month 2 Date of High Flow | Month 2 Low Flow (gals) | Month 2 Date of Low Flow | Month 2 Number of Days Exceeding Design Capacity | Month 3 Water Delivery (gals) | Month 3 UFW (%) | Month 3 Average Daily Flow (gals) | Month 3 High Flow (gals) | Month 3 Date of High Flow | Month 3 Low Flow (gals) | Month 3 Date of Low Flow | Month 3 Number of Days Exceeding Design Capacity | LastUpdated | UserName | rowguid
OAMTM | 2012 | 1 | 1617000 | 14.99 | 52000 | 96000 | 2012-01-13 | 4000 | 2012-01-23 | 0 | 1368000 | 16.39 | 47000 | 114000 | 2012-02-22 | 2000 | 2012-02-07 | 0 | 1492000 | 15.64 | 48000 | 97000 | 2012-03-25 | 1000 | 2012-03-26 | 0
OAMTM | 2012 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OAMTM | 2012 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OAMTM | 2012 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OAMTM | 2011 | 1 | 1715000 | 15.12 | 55000 | 109000 | 2011-01-25 | 3000 | 2011-01-24 | 0 | 1500000 | 13.83 | 54000 | 99000 | 2011-02-13 | 0 | 2011-02-02 | 0 | 1549000 | 14.9 | 50000 | 74000 | 2011-03-28 | 21000 | 2011-03-05 | 0

## MB_Codes
MB-Codes
General Type | Specific Type | General Type | Specific Type | Break Causes
Planned | Abandon Service | Unplanned | Abandon Service | Age
Planned | Bolts/Gaskets | Unplanned | Beam | Beam
Planned | Flushing | Unplanned | Belljoint | Belljoint
Planned | Hydrant | Unplanned | Collar | Bolts
Planned | Hydrant - Repair/Replace | Unplanned | Curb Stop | Construction
Planned | Hydrant Installation | Unplanned | Flushing | Contract hit
Planned | Insert/Cut Fitting | Unplanned | Hole | Corporation
Planned | Main Abandonment | Unplanned | Hole (blow out) | Corrosion
Planned | Main Break | Unplanned | Hydrant - Repair | Defective Material
Planned | Main Repair | Unplanned | Hydrant - Replace | Frost Movement
Planned | Main Replacement | Unplanned | Main - New Installation | Gasket Leak
Planned | Other | Unplanned | Main - Replacement | Ground Settlement
Planned | Service - New | Unplanned | Main Break | Hammer
Planned | Service- Repair/replace | Unplanned | Other | High Pressure
Planned | Tap Main | Unplanned | Other - Private | Hole
Planned | Valve Installation | Unplanned | Service - Abandon | Hole (blow out)
Planned | Valve Repair | Unplanned | Service - Curb Stop | Improper Installation
Planned | Valve Replacement | Unplanned | Service - Private | N/A
|  | Unplanned | Service - Replacement/Repair | Other
|  | Unplanned | Service - Saddle | Saddle
|  | Unplanned | Service - Saddle | Shear
|  | Unplanned | Service Line | Split
|  | Unplanned | Shear
|  | Unplanned | Split
|  | Unplanned | Storm/Electrical
|  | Unplanned | Telemetry Problem
|  | Unplanned | Valve- Repair/Replace
|  | Unplanned | Valves (Packing Gland)
Telemetry Problem
Temperature
Unknown